## Price Comparison
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | Comp. Date : 30/12/2024 | Comp. Date : 30/12/2024 | Comp. Date : 30/12/2024 | Vendor Name : Electech Enterprises (RV232422514) | [5 empty] | Vendor Name : Arrow Electrical (RV242522534) | [5 empty] | Vendor Name : RUDRA INTERIORS POINT PVT. LTD. (RV242523688)
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ #: R2514 | RFQ #: R2514 | RFQ #: R2514 | Contact Name : Alam | [5 empty] | Contact Name : SANTOSH KHAKE | [5 empty] | Contact Name : MANOJ
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ Date : 23/12/2024 18:39:17 | RFQ Date : 23/12/2024 18:39:17 | RFQ Date : 23/12/2024 18:39:17 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | BCD Date : 30/12/2024 18:36:00 | BCD Date : 30/12/2024 18:36:00 | BCD Date : 30/12/2024 18:36:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : 98734 22562
PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | Email : alam@electechenterprises.net | [5 empty] | Email : project.arrowelectricals@gmail.com | [5 empty] | Email : manoj@rudrasip.com
Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Round # : 1 (RFQ) | [5 empty] | Round # : 1 (RFQ) | [5 empty] | Round # : 1 (RFQ)
Buyer : Abdul Rehman / Technical : / Approver : | Buyer : Abdul Rehman / Technical : / Approver : | Buyer : Abdul Rehman / Technical : / Approver : | Buyer : Abdul Rehman / Technical : / Approver : | Buyer : Abdul Rehman / Technical : / Approver : | Buyer : Abdul Rehman / Technical : / Approver : | Buyer : Abdul Rehman / Technical : / Approver : | Buyer : Abdul Rehman / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | Price | Disc % | GST % | Technical | Unit Price | Total | Price | Disc % | GST % | Technical | Unit Price | Total | Price | Disc % | GST % | Technical | Unit Price | Total
1 |  | Electrical | NOS | 1.00 |  | 902730.00 | RUDRA INTERIORS POINT PVT. LTD. | 921265.00 | 0.00 | 18.00 |  | 921,265.00 | 921,265.00 | 1050225.00 | 0.00 | 18.00 |  | 1,050,225.00 | 1,050,225.00 | 902730.00 | 0.00 | 18.00 |  | 902,730.00 | 902,730.00
2 |  | FAS | NOS | 1.00 |  | 298610.00 | Arrow Electrical | 354900.00 | 0.00 | 18.00 |  | 354,900.00 | 354,900.00 | 298610.00 | 0.00 | 18.00 |  | 298,610.00 | 298,610.00 | 1348168.00 | 0.00 | 18.00 |  | 1,348,168.00 | 1,348,168.00
Item Total | [8 empty] | .00 | 229,709.70 |  |  | 1,276,165.00 |  | .00 | 242,790.30 |  |  | 1,348,835.00 |  | .00 | 405,161.64 |  |  | 2,250,898.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 229,709.70 | [5 empty] | 242,790.30 | [5 empty] | 405,161.64
Net Landed Cost | [11 empty] | INR | 1,505,874.70 |  |  |  |  | INR | 1,591,625.30 |  |  |  |  | INR | 2,656,059.64
Vendor Status | [7 empty] | Round # : 1 (RFQ) | Round # : 1 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV242523688 | RUDRA INTERIORS POINT PVT. LTD. | [5 empty] | Participate
2 | RV242523803 | SHAH ENTERPRISES | [5 empty] | Not Participate
3 | RV232422514 | Electech Enterprises | [5 empty] | Participate
4 | RV242522534 | Arrow Electrical | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | Comp. Date : 30/12/2024 | Comp. Date : 30/12/2024 | Comp. Date : 30/12/2024 | Vendor Name : Electech Enterprises | Vendor Name : Electech Enterprises | Vendor Name : Arrow Electrical | Vendor Name : Arrow Electrical | Vendor Name : RUDRA INTERIORS POINT PVT. LTD. | Vendor Name : RUDRA INTERIORS POINT PVT. LTD.
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ #: R2514 | RFQ #: R2514 | RFQ #: R2514 | Contact Name : Alam | Contact Name : Alam | Contact Name : SANTOSH KHAKE | Contact Name : SANTOSH KHAKE | Contact Name : MANOJ | Contact Name : MANOJ
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ Date : 23/12/2024 18:39:17 | RFQ Date : 23/12/2024 18:39:17 | RFQ Date : 23/12/2024 18:39:17 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | BCD Date : 30/12/2024 18:36:00 | BCD Date : 30/12/2024 18:36:00 | BCD Date : 30/12/2024 18:36:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : 98734 22562 | Mobile # : 98734 22562
PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | Email : alam@electechenterprises.net | Email : alam@electechenterprises.net | Email : project.arrowelectricals@gmail.com | Email : project.arrowelectricals@gmail.com | Email : manoj@rudrasip.com | Email : manoj@rudrasip.com
Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ)
Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Electrical | Electrical | NOS | 1.000 |  |  | 921,265.00 |  | 1,050,225.00 |  | 902,730.00
1 | 1 | SECTION-I-POINT WIRING | SECTION-I-POINT WIRING
2 | 2.1 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm FRLS wires in MS conduits from LDB to primary points primary points to secondary points(MCB controlled Lights) | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm FRLS wires in MS conduits from LDB to primary points primary points to secondary points(MCB controlled Lights)
3 | 2.1.1 | Primary points upto 6 meters | Primary points upto 6 meters | Nos. | 33.000 | 57,750.00 | 2625.00 | 86,625.00 | 3190.00 | 105,270.00 | 1750.00 | 57,750.00
4 | 2.1.2 | Secondary points upto 3 meters | Secondary points upto 3 meters | Nos. | 13.000 | 12,350.00 | 1050.00 | 13,650.00 | 1810.00 | 23,530.00 | 950.00 | 12,350.00
5 | 2.1.3 | Points in running meter | Points in running meter | mtr | 65.000 | 15,665.00 | 265.00 | 17,225.00 | 241.00 | 15,665.00 | 250.00 | 16,250.00
6 | 3.1 | Supply Installation of FRLS Wires in MS conduit for power lighting conduiting surface mounted on ceiling conceiled in walls | Supply Installation of FRLS Wires in MS conduit for power lighting conduiting surface mounted on ceiling conceiled in walls
7 | 3.1.1 | Supply Installation of 2 nos.2.5 Sq.mm +1 no. 1.5 Sqmm copper FRLS wires in 20mm dia MS conduits | Supply Installation of 2 nos.2.5 Sq.mm +1 no. 1.5 Sqmm copper FRLS wires in 20mm dia MS conduits | Rmt | 120.000 | 33,840.00 | 370.00 | 44,400.00 | 282.00 | 33,840.00 | 350.00 | 42,000.00
8 | 3.1.2 | Supply Installation of 2 nos.4 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 20mm dia MS conduits | Supply Installation of 2 nos.4 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 20mm dia MS conduits | Rmt | 60.000 | 21,600.00 | 475.00 | 28,500.00 | 385.00 | 23,100.00 | 360.00 | 21,600.00
9 | 2 | SECTION-II-SUPPLY INSTALLATION OF SWITCH SOCKET OUTLETS ( KITCHEN POINTS NOT CONSIDERD ) | SECTION-II-SUPPLY INSTALLATION OF SWITCH SOCKET OUTLETS ( KITCHEN POINTS NOT CONSIDERD )
10 | 2.1 | Supply Installation of the following MDS make Metra Plug Socket DBs | Supply Installation of the following MDS make Metra Plug Socket DBs
11 | 2.1.1 | 10 16 20 25 32A SP Metal Clad socket with mcb | 10 16 20 25 32A SP Metal Clad socket with mcb | Nos. | 4.000 | 13,440.00 | 3360.00 | 13,440.00 | 3510.00 | 14,040.00 | 4100.00 | 16,400.00
12 | 2.1.2 | 32A 4P 3ph 5 pin Metal Clad socket With MCB | 32A 4P 3ph 5 pin Metal Clad socket With MCB | Nos. | 8.000 | 58,000.00 | 12600.00 | 100,800.00 | 14800.00 | 118,400.00 | 7250.00 | 58,000.00
13 | 2.2 | Supply Installation of the following Sockets, Switches including the front plate Back boxes | Supply Installation of the following Sockets, Switches including the front plate Back boxes
14 | 2.2.1 | 1 no. 6 16A 6 Pin Switch Socket Outlets (Raw Power) | 1 no. 6 16A 6 Pin Switch Socket Outlets (Raw Power) | Nos. | 10.000 | 8,400.00 | 840.00 | 8,400.00 | 950.00 | 9,500.00 | 950.00 | 9,500.00
15 | 3 | SECTION III-TELEPHONE DATA SYSTEM AND TV | SECTION III-TELEPHONE DATA SYSTEM AND TV
16 | 3.1 | Supply Installation of the D-link make cat6 information outlet with face plate. (For data) | Supply Installation of the D-link make cat6 information outlet with face plate. (For data) | Nos. | 2.000 | 1,260.00 | 630.00 | 1,260.00 | 1250.00 | 2,500.00 | 720.00 | 1,440.00
17 | 3.2 | Supply Installation of Cat. 6 Data cable in 20mm 25mm dia MS conduits | Supply Installation of Cat. 6 Data cable in 20mm 25mm dia MS conduits | Mts. | 2.000 | 380.00 | 220.00 | 440.00 | 240.00 | 480.00 | 190.00 | 380.00
18 | 4 | SECTION-IV-PROVUDING FIXING OF EMERGENCY SIGNAGE | SECTION-IV-PROVUDING FIXING OF EMERGENCY SIGNAGE
19 | 4.1.1 | EMERGENCY SIGNAGE | EMERGENCY SIGNAGE | Nos | 10.000 | 5,250.00 | 525.00 | 5,250.00 | 3140.00 | 31,400.00 | 3200.00 | 32,000.00
20 | 5.1 | Supply Installation Testing Commissioning of following Panels | Supply Installation Testing Commissioning of following Panels
21 | 5.1.1 | Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | No. | 1.000 | 262,500.00 | 262500.00 | 262,500.00 | 280000.00 | 280,000.00 | 320000.00 | 320,000.00
22 | 5.2 | Supply Installation Testing Commissioning of following Distribution boards Starters | Supply Installation Testing Commissioning of following Distribution boards Starters
23 | 5.2.1 | 8 way TPN DB with 40A 4P MCB as incomer 3 nos. of 32 DP MCB, 100mA 18+8 Nos. (KPLDB) CAT NO. 5076 82 ( LEGRAND-MAKE ) | 8 way TPN DB with 40A 4P MCB as incomer 3 nos. of 32 DP MCB, 100mA 18+8 Nos. (KPLDB) CAT NO. 5076 82 ( LEGRAND-MAKE ) | No. | 1.000 | 23,100.00 | 23100.00 | 23,100.00 | 28500.00 | 28,500.00 | 54000.00 | 54,000.00
24 | 5.2.2 | 12 way SPN DB with 25A DP MCB as incomer CAT NO. 5076 22 ( LEGRAND-MAKE ) CAT NO. 5076 82 ( LEGRAND-MAKE ) | 12 way SPN DB with 25A DP MCB as incomer CAT NO. 5076 22 ( LEGRAND-MAKE ) CAT NO. 5076 82 ( LEGRAND-MAKE ) | No. | 1.000 | 12,600.00 | 12600.00 | 12,600.00 | 14500.00 | 14,500.00 | 23400.00 | 23,400.00
25 | 5.2.5 | L T make MK1 DOL stater | L T make MK1 DOL stater | Nos. | 2.000 | 10,000.00 | 8925.00 | 17,850.00 | 7200.00 | 14,400.00 | 5000.00 | 10,000.00
26 | 6 | SECTION-VI -CABLING EARTHING | SECTION-VI -CABLING EARTHING
27 | 6.1 | Supply of Installation of Following cables | Supply of Installation of Following cables
28 | 6.1.1 | 4 C x 4 sq mm CU PVC Armoured | 4 C x 4 sq mm CU PVC Armoured | Mts. | 60.000 | 25,200.00 | 630.00 | 37,800.00 | 495.00 | 29,700.00 | 420.00 | 25,200.00
29 | 6.1.2 | 4 C x 6 sq mm CU PVC Armoured | 4 C x 6 sq mm CU PVC Armoured | Mts. | 40.000 | 23,520.00 | 840.00 | 33,600.00 | 670.00 | 26,800.00 | 588.00 | 23,520.00
30 | 6.1.3 | 4 C x 10 sq mm CU PVC Armoured | 4 C x 10 sq mm CU PVC Armoured | Mts. | 35.000 | 28,980.00 | 1100.00 | 38,500.00 | 982.00 | 34,370.00 | 828.00 | 28,980.00
31 | 6.1.7 | 3.5 C x 95sq mm XLPE Armoured | 3.5 C x 95sq mm XLPE Armoured | Mts. | 10.000 | 9,120.00 | 1000.00 | 10,000.00 | 999.00 | 9,990.00 | 912.00 | 9,120.00
32 | 6.2 | Supply of Installation of Following cable Terminations | Supply of Installation of Following cable Terminations
33 | 6.2.1 | 4 C x 4 sq mm CU PVC Armoured | 4 C x 4 sq mm CU PVC Armoured | No. | 30.000 | 6,120.00 | 630.00 | 18,900.00 | 450.00 | 13,500.00 | 204.00 | 6,120.00
34 | 6.2.2 | 4 C x 6 sq mm CU PVC Armoured | 4 C x 6 sq mm CU PVC Armoured | No. | 12.000 | 2,880.00 | 840.00 | 10,080.00 | 550.00 | 6,600.00 | 240.00 | 2,880.00
35 | 5.2.3 | 4 C x 10 sq mm CU PVC Armoured | 4 C x 10 sq mm CU PVC Armoured | No. | 30.000 | 10,440.00 | 1100.00 | 33,000.00 | 650.00 | 19,500.00 | 348.00 | 10,440.00
36 | 6.2.5 | 3.5 C x95sq mm AL. XLPE Cable | 3.5 C x95sq mm AL. XLPE Cable | No. | 6.000 | 3,960.00 | 1000.00 | 6,000.00 | 890.00 | 5,340.00 | 660.00 | 3,960.00
37 | 6.3 | Supply of Installation of Following Cable Trays | Supply of Installation of Following Cable Trays
38 | 6.3.1 | 300mm wide Perforated Cable tray with support | 300mm wide Perforated Cable tray with support | Mts. | 20.000 | 25,200.00 | 1525.00 | 30,500.00 | 1670.00 | 33,400.00 | 1260.00 | 25,200.00
39 | 6.3.2 | 150mm wide perforated cable tray with support. | 150mm wide perforated cable tray with support. | Mts. | 60.000 | 51,840.00 | 1100.00 | 66,000.00 | 995.00 | 59,700.00 | 864.00 | 51,840.00
40 | 6.4 | Supply of Installation of Following Earthing Material | Supply of Installation of Following Earthing Material
41 | 6.4.1 | 8 SWG hard drawn bare aluminium wire | 8 SWG hard drawn bare aluminium wire | Mts. | 10.000 | 320.00 | 32.00 | 320.00 | 120.00 | 1,200.00 | 40.00 | 400.00
42 | 7 | SECTION-VII-SERVO STABILIZER INVERTER UPS | SECTION-VII-SERVO STABILIZER INVERTER UPS
43 | 7.1 | Installation of 2KVA three phase in and Single Phase out UPS with 30min battery back-up- make Online Systems | Installation of 2KVA three phase in and Single Phase out UPS with 30min battery back-up- make Online Systems | No. | 1.000 | 525.00 | 525.00 | 525.00 | 95000.00 | 95,000.00 | 40000.00 | 40,000.00
2 |  | FAS | FAS | NOS | 1.000 |  |  | 354,900.00 |  | 298,610.00 |  | 1,348,168.00
44 | A | CONVENTIONAL FIRE DETECTION SYSTEM | CONVENTIONAL FIRE DETECTION SYSTEM
45 | a. | S I T C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall | S I T C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall | Mts. | 75.000 | 9,450.00 | 126.00 | 9,450.00 | 170.00 | 12,750.00 | 350.00 | 26,250.00
46 | b. | Supply Installation of Smoke Detector (ADDRESABLE) | Supply Installation of Smoke Detector (ADDRESABLE) | Nos | 8.000 | 41,600.00 | 6825.00 | 54,600.00 | 7200.00 | 57,600.00 | 5200.00 | 41,600.00
47 | d. | Supply Installation of Heat Detector with base (ADDRESABLE) | Supply Installation of Heat Detector with base (ADDRESABLE) | Nos | 2.000 | 10,500.00 | 7350.00 | 14,700.00 | 7460.00 | 14,920.00 | 5250.00 | 10,500.00
48 | e. | Supply Installation of Manual Breakglass Unit (ADDRESABLE) | Supply Installation of Manual Breakglass Unit (ADDRESABLE) | No | 1.000 | 4,250.00 | 7350.00 | 7,350.00 | 8140.00 | 8,140.00 | 4250.00 | 4,250.00
49 | f. | Supply Installation of Hooter (ADDRESABLE) | Supply Installation of Hooter (ADDRESABLE) | No | 1.000 | 4,500.00 | 6300.00 | 6,300.00 | 10200.00 | 10,200.00 | 4500.00 | 4,500.00
50 | h. | Supply Installation of 8 Zone Fire Alarm Panel with Auto Dialing Facility (ADDRESABLE) | Supply Installation of 8 Zone Fire Alarm Panel with Auto Dialing Facility (ADDRESABLE) | No. | 1.000 | 195,000.00 | 262500.00 | 262,500.00 | 195000.00 | 195,000.00 | 1261068.00 | 1,261,068.00

## Technical Score Detail
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | Comp. Date : 30/12/2024 | Comp. Date : 30/12/2024 | Comp. Date : 30/12/2024 | Vendor Name : Electech Enterprises |  | Vendor Name : Arrow Electrical |  | Vendor Name : RUDRA INTERIORS POINT PVT. LTD.
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ #: R2514 | RFQ #: R2514 | RFQ #: R2514 | Contact Name : Alam |  | Contact Name : SANTOSH KHAKE |  | Contact Name : MANOJ
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ Date : 23/12/2024 18:39:17 | RFQ Date : 23/12/2024 18:39:17 | RFQ Date : 23/12/2024 18:39:17 | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | BCD Date : 30/12/2024 18:36:00 | BCD Date : 30/12/2024 18:36:00 | BCD Date : 30/12/2024 18:36:00 | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT | RFQ No: R2514 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # : 98734 22562
PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | PR Number : QMT-2425-00026,QMT-2425-00027 | Email : alam@electechenterprises.net |  | Email : project.arrowelectricals@gmail.com |  | Email : manoj@rudrasip.com
Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Package / RFQ Name : TFAS / RFQ / QMT-2425-00026,QMT-2425-00027 | Round # : 1 (RFQ) |  | Round # : 1 (RFQ) |  | Round # : 1 (RFQ)
Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Buyer : Abdul Rehman | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification
1 |  | Electrical |  | NOS | 1.000 | 0.00 | 0.00
2 | 1 | SECTION-I-POINT WIRING |  |  | 0.000 | 0.00 | 0.00
3 | 2.1 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm FRLS wires in MS conduits from LDB to primary points primary points to secondary points(MCB controlled Lights) |  |  | 0.000 | 0.00 | 0.00
4 | 2.1.1 | Primary points upto 6 meters |  | Nos. | 33.000 | 0.00 | 0.00
5 | 2.1.2 | Secondary points upto 3 meters |  | Nos. | 13.000 | 0.00 | 0.00
6 | 2.1.3 | Points in running meter |  | mtr | 65.000 | 0.00 | 0.00
7 | 3.1 | Supply Installation of FRLS Wires in MS conduit for power lighting conduiting surface mounted on ceiling conceiled in walls |  |  | 0.000 | 0.00 | 0.00
8 | 3.1.1 | Supply Installation of 2 nos.2.5 Sq.mm +1 no. 1.5 Sqmm copper FRLS wires in 20mm dia MS conduits |  | Rmt | 120.000 | 0.00 | 0.00
9 | 3.1.2 | Supply Installation of 2 nos.4 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 20mm dia MS conduits |  | Rmt | 60.000 | 0.00 | 0.00
10 | 2 | SECTION-II-SUPPLY INSTALLATION OF SWITCH SOCKET OUTLETS ( KITCHEN POINTS NOT CONSIDERD ) |  |  | 0.000 | 0.00 | 0.00
11 | 2.1 | Supply Installation of the following MDS make Metra Plug Socket DBs |  |  | 0.000 | 0.00 | 0.00
12 | 2.1.1 | 10 16 20 25 32A SP Metal Clad socket with mcb |  | Nos. | 4.000 | 0.00 | 0.00
13 | 2.1.2 | 32A 4P 3ph 5 pin Metal Clad socket With MCB |  | Nos. | 8.000 | 0.00 | 0.00
14 | 2.2 | Supply Installation of the following Sockets, Switches including the front plate Back boxes |  |  | 0.000 | 0.00 | 0.00
15 | 2.2.1 | 1 no. 6 16A 6 Pin Switch Socket Outlets (Raw Power) |  | Nos. | 10.000 | 0.00 | 0.00
16 | 3 | SECTION III-TELEPHONE DATA SYSTEM AND TV |  |  | 0.000 | 0.00 | 0.00
17 | 3.1 | Supply Installation of the D-link make cat6 information outlet with face plate. (For data) |  | Nos. | 2.000 | 0.00 | 0.00
18 | 3.2 | Supply Installation of Cat. 6 Data cable in 20mm 25mm dia MS conduits |  | Mts. | 2.000 | 0.00 | 0.00
19 | 4 | SECTION-IV-PROVUDING FIXING OF EMERGENCY SIGNAGE |  |  | 0.000 | 0.00 | 0.00
20 | 4.1.1 | EMERGENCY SIGNAGE |  | Nos | 10.000 | 0.00 | 0.00
21 | 5.1 | Supply Installation Testing Commissioning of following Panels |  |  | 0.000 | 0.00 | 0.00
22 | 5.1.1 | Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD |  | No. | 1.000 | 0.00 | 0.00
23 | 5.2 | Supply Installation Testing Commissioning of following Distribution boards Starters |  |  | 0.000 | 0.00 | 0.00
24 | 5.2.1 | 8 way TPN DB with 40A 4P MCB as incomer 3 nos. of 32 DP MCB, 100mA 18+8 Nos. (KPLDB) CAT NO. 5076 82 ( LEGRAND-MAKE ) |  | No. | 1.000 | 0.00 | 0.00
25 | 5.2.2 | 12 way SPN DB with 25A DP MCB as incomer CAT NO. 5076 22 ( LEGRAND-MAKE ) CAT NO. 5076 82 ( LEGRAND-MAKE ) |  | No. | 1.000 | 0.00 | 0.00
26 | 5.2.5 | L T make MK1 DOL stater |  | Nos. | 2.000 | 0.00 | 0.00
27 | 6 | SECTION-VI -CABLING EARTHING |  |  | 0.000 | 0.00 | 0.00
28 | 6.1 | Supply of Installation of Following cables |  |  | 0.000 | 0.00 | 0.00
29 | 6.1.1 | 4 C x 4 sq mm CU PVC Armoured |  | Mts. | 60.000 | 0.00 | 0.00
30 | 6.1.2 | 4 C x 6 sq mm CU PVC Armoured |  | Mts. | 40.000 | 0.00 | 0.00
31 | 6.1.3 | 4 C x 10 sq mm CU PVC Armoured |  | Mts. | 35.000 | 0.00 | 0.00
32 | 6.1.7 | 3.5 C x 95sq mm XLPE Armoured |  | Mts. | 10.000 | 0.00 | 0.00
33 | 6.2 | Supply of Installation of Following cable Terminations |  |  | 0.000 | 0.00 | 0.00
34 | 6.2.1 | 4 C x 4 sq mm CU PVC Armoured |  | No. | 30.000 | 0.00 | 0.00
35 | 6.2.2 | 4 C x 6 sq mm CU PVC Armoured |  | No. | 12.000 | 0.00 | 0.00
36 | 5.2.3 | 4 C x 10 sq mm CU PVC Armoured |  | No. | 30.000 | 0.00 | 0.00
37 | 6.2.5 | 3.5 C x95sq mm AL. XLPE Cable |  | No. | 6.000 | 0.00 | 0.00
38 | 6.3 | Supply of Installation of Following Cable Trays |  |  | 0.000 | 0.00 | 0.00
39 | 6.3.1 | 300mm wide Perforated Cable tray with support |  | Mts. | 20.000 | 0.00 | 0.00
40 | 6.3.2 | 150mm wide perforated cable tray with support. |  | Mts. | 60.000 | 0.00 | 0.00
41 | 6.4 | Supply of Installation of Following Earthing Material |  |  | 0.000 | 0.00 | 0.00
42 | 6.4.1 | 8 SWG hard drawn bare aluminium wire |  | Mts. | 10.000 | 0.00 | 0.00
43 | 7 | SECTION-VII-SERVO STABILIZER INVERTER UPS |  |  | 0.000 | 0.00 | 0.00
44 | 7.1 | Installation of 2KVA three phase in and Single Phase out UPS with 30min battery back-up- make Online Systems |  | No. | 1.000 | 0.00 | 0.00
45 |  | FAS |  | NOS | 1.000 | 0.00 | 0.00
46 | A | CONVENTIONAL FIRE DETECTION SYSTEM |  |  | 0.000 | 0.00 | 0.00
47 | a. | S I T C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall |  | Mts. | 75.000 | 0.00 | 0.00
48 | b. | Supply Installation of Smoke Detector (ADDRESABLE) |  | Nos | 8.000 | 0.00 | 0.00
49 | d. | Supply Installation of Heat Detector with base (ADDRESABLE) |  | Nos | 2.000 | 0.00 | 0.00
50 | e. | Supply Installation of Manual Breakglass Unit (ADDRESABLE) |  | No | 1.000 | 0.00 | 0.00
51 | f. | Supply Installation of Hooter (ADDRESABLE) |  | No | 1.000 | 0.00 | 0.00
52 | h. | Supply Installation of 8 Zone Fire Alarm Panel with Auto Dialing Facility (ADDRESABLE) |  | No. | 1.000 | 0.00 | 0.00