1. The site is 40KM from heart of the  Bangalore city
2. 6KM from National Highway
3. The site is located in Terminal one second floor
4. Access to the site-Ground floor to Second floor by stairs ( No elevator available)
5. All the dismantled materials to be taken out through stair and keep in material yard located at level-0
6. All the labour movement will be through stairs
7. For further detail vendor must visit the site before bidding
8. All the labour must need for Police verification certificate
9. All the hammers to be industrial type
10. All cutting procedure to be dust control by using equipment, dust control cabinet and Sprinkling water .
11. 220 volt equipment can use