## BOQ Price Bid
|  | RFQ No: R1035 COST COMPARISON REPORT | RFQ No: R1035 COST COMPARISON REPORT | Comp. Date : 05/06/2024 | Comp. Date : 05/06/2024 | Comp. Date : 05/06/2024
|  | RFQ No: R1035 COST COMPARISON REPORT | RFQ No: R1035 COST COMPARISON REPORT | RFQ #: R1035 | RFQ #: R1035 | RFQ #: R1035
|  | RFQ No: R1035 COST COMPARISON REPORT | RFQ No: R1035 COST COMPARISON REPORT | RFQ Date : 03/06/2024 13:44:15 | RFQ Date : 03/06/2024 13:44:15 | RFQ Date : 03/06/2024 13:44:15
|  | RFQ No: R1035 COST COMPARISON REPORT | RFQ No: R1035 COST COMPARISON REPORT | BCD Date : 05/06/2024 23:44:00 | BCD Date : 05/06/2024 23:44:00 | BCD Date : 05/06/2024 23:44:00
|  | RFQ No: R1035 COST COMPARISON REPORT | RFQ No: R1035 COST COMPARISON REPORT
PR Number : DCPL-2425-00028 | PR Number : DCPL-2425-00028 | PR Number : DCPL-2425-00028 | PR Number : DCPL-2425-00028 | PR Number : DCPL-2425-00028 | PR Number : DCPL-2425-00028 | PR Number : DCPL-2425-00028
Package / RFQ Name : Electrical Works - Copper Chimney - R City Mall... | Package / RFQ Name : Electrical Works - Copper Chimney - R City Mall... | Package / RFQ Name : Electrical Works - Copper Chimney - R City Mall... | Package / RFQ Name : Electrical Works - Copper Chimney - R City Mall... | Package / RFQ Name : Electrical Works - Copper Chimney - R City Mall... | Package / RFQ Name : Electrical Works - Copper Chimney - R City Mall... | Package / RFQ Name : Electrical Works - Copper Chimney - R City Mall...
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE :1,400,000.00 | BUDGET PRICE :1,400,000.00 | BUDGET PRICE :1,400,000.00
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Target Amount
1 |  | Electrical Works | Purchase Request for Electrical Works | EA | 1 | 1090262
1 |  | PVC GI Pipe | PVC GI Pipe
2 |  | Supply and installation of 20 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Supply and installation of 20 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 700 | 94500
3 |  | Supply and installation of 25 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Supply and installation of 25 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 500 | 86000
4 |  | Supply and installation of 20 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Supply and installation of 20 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 70 | 2660
5 |  | Supply and installation of 25 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Supply and installation of 25 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 70 | 3500
6 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 885 | 92925
7 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 75 | 10875
8 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 580 | 40600
9 |  | Supply and installation connection of G.I 25mm x 6mm Earthing Patti | Supply and installation connection of G.I 25mm x 6mm Earthing Patti | Mtr | 95 | 13300
10 |  | Supply and installation connection Testing and commissioning of following 1.5 sq.mm x 2 core Copper Armoured Cable for FAS System | Supply and installation connection Testing and commissioning of following 1.5 sq.mm x 2 core Copper Armoured Cable for FAS System | Mtr | 105 | 12600
11 |  | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 45 | 14175
12 |  | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 160 | 68000
13 |  | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 35 | 21875
14 |  | 16 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 16 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 35 | 33950
15 |  | 50 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 50 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 10 | 3870
16 | Distribution Board | Supply and installation testing commission of - 32A 2pole 30ma DP + RCBO | Supply and installation testing commission of - 32A 2pole 30ma DP + RCBO | Nos | 3 | 8550
17 |  | Supply and installation testing commission of - 25A 2pole 30ma DP + RCBO | Supply and installation testing commission of - 25A 2pole 30ma DP + RCBO | Nos | 7 | 19950
18 |  | Supply and installation testing commission of - 40A 2pole 30ma DP + RCBO | Supply and installation testing commission of - 40A 2pole 30ma DP + RCBO | Nos | 3 | 9600
19 |  | Supply and installation testing commission of - 32A 4 Pole 100ma TPN MCB | Supply and installation testing commission of - 32A 4 Pole 100ma TPN MCB | Nos | 2 | 2700
20 |  | Supply and installation testing commission of - 40A 4 Pole 100ma TPN MCB | Supply and installation testing commission of - 40A 4 Pole 100ma TPN MCB | Nos | 1 | 2150
21 |  | Supply and installation testing commission of - 63A 4 Pole 100ma TPN MCB | Supply and installation testing commission of - 63A 4 Pole 100ma TPN MCB | Nos | 1 | 2150
22 |  | Supply and installation testing commission of - 10A 10kA SP MCB | Supply and installation testing commission of - 10A 10kA SP MCB | Nos | 41 | 9512
23 |  | Supply and installation testing commission of - 16A 10kA SP MCB | Supply and installation testing commission of - 16A 10kA SP MCB | Nos | 65 | 15795
24 |  | Supply and installation testing commission of - 25A 10kA SP MCB | Supply and installation testing commission of - 25A 10kA SP MCB | Nos | 6 | 1470
25 |  | Supply Installation testing commission of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Supply Installation testing commission of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 1 | 2850
26 |  | Supply Installation testing commission of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Supply Installation testing commission of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 1 | 3700
27 |  | Supply Installation testing commission of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Supply Installation testing commission of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 2 | 9500
28 |  | Supply Installation testing commission of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Supply Installation testing commission of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 1 | 9500
29 |  | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing | Nos | 2 | 11700
30 |  | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box | Nos | 8 | 14000
31 |  | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip | Nos | 25 | 1500
32 |  | Supply and installation testing commission of following L T make VFD PANEL suitable motors (FOR KITCHEN EXHAUST FRESH AIR BLOWER) 5 HP VFD - 3 Nos and One Dol starter provision | Supply and installation testing commission of following L T make VFD PANEL suitable motors (FOR KITCHEN EXHAUST FRESH AIR BLOWER) 5 HP VFD - 3 Nos and One Dol starter provision | Nos | 1 | 125000
33 |  | Main LT Panel - Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | Main LT Panel - Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | Nos | 1 | 132000
34 |  | Installation, testing commissioning of - SPOT LIGHT 1 - LT1 | Installation, testing commissioning of - SPOT LIGHT 1 - LT1 | Nos | 10 | 750
35 |  | Installation, testing commissioning of - SPOT LIGHT 2 - LT2 | Installation, testing commissioning of - SPOT LIGHT 2 - LT2 | Nos | 23 | 1725
36 |  | Installation, testing commissioning of - 2 X 2 CEILING MOUNT LIGHT- 3000K - LT3 | Installation, testing commissioning of - 2 X 2 CEILING MOUNT LIGHT- 3000K - LT3 | Nos | 4 | 1000
37 |  | Installation, testing commissioning of - 2 X 2 CEILING MOUNT LIGHT-6000K - LT4 | Installation, testing commissioning of - 2 X 2 CEILING MOUNT LIGHT-6000K - LT4 | Nos | 12 | 3000
38 |  | Installation, testing commissioning of - LED COVE LIGHT - LT5 | Installation, testing commissioning of - LED COVE LIGHT - LT5 | Mtr | 12 | 300
39 |  | BULB - LT6 | BULB - LT6 | Nos | 56 | 2800
40 |  | Installation, testing commissioning of - HANGING LIGHT 1 - LT7 | Installation, testing commissioning of - HANGING LIGHT 1 - LT7 | Nos | 4 | 600
41 |  | Installation, testing commissioning of - HANGING LIGHT 2 - LT8 | Installation, testing commissioning of - HANGING LIGHT 2 - LT8 | Nos | 1 | 150
42 |  | Installation, testing commissioning of - WALL MOUNTED - LT9 | Installation, testing commissioning of - WALL MOUNTED - LT9 | Nos | 8 | 1200
43 |  | Installation, testing commissioning of - TRACK LIGHT - TL1 (Legnth - 900mm) | Installation, testing commissioning of - TRACK LIGHT - TL1 (Legnth - 900mm) | Nos | 10 | 1500
44 |  | TUBELIGHT (Legnth - 1200mm) (Supply Installation) | TUBELIGHT (Legnth - 1200mm) (Supply Installation) | Nos | 4 | 600
45 |  | Fresh Air Motor Connection | Fresh Air Motor Connection | Nos | 2 | 1000
46 |  | Exhaust Motor Connection | Exhaust Motor Connection | Nos | 2 | 1000
47 |  | Installtion of Air Curtain | Installtion of Air Curtain | Nos | 2 | 1000
48 |  | Installation of Insect Killer | Installation of Insect Killer | Nos | 2 | 600
49 |  | Supply and fixing of 75mm x 75mm Casing Box | Supply and fixing of 75mm x 75mm Casing Box | Mtr | 25 | 8000
50 |  | Supply and fixing of 100mm x 100mm Casing Box | Supply and fixing of 100mm x 100mm Casing Box | Mtr | 25 | 11250
51 |  | Supply and fixing of 150mm x 150mm Casing Box | Supply and fixing of 150mm x 150mm Casing Box | Mtr | 35 | 17850
52 |  | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System | Mtr | 180 | 5040
53 |  | Supply Fixing of Lugs Punching | Supply Fixing of Lugs Punching | Nos | 0 | 0
54 |  | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) | Nos | 12 | 144
55 |  | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) | Nos | 24 | 360
56 |  | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) | Nos | 8 | 136
57 |  | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) | Nos | 8 | 160
58 |  | Supply Fixing of - 50 sq.mm Ring Type Lugs (Alluminium) | Supply Fixing of - 50 sq.mm Ring Type Lugs (Alluminium) | Nos | 4 | 100
59 |  | Supply Fixing of - 4 sq.mm x 4 core Glands | Supply Fixing of - 4 sq.mm x 4 core Glands | Nos | 3 | 600
60 |  | Supply Fixing of - 6 sq.mm x 4 core Glands | Supply Fixing of - 6 sq.mm x 4 core Glands | Nos | 6 | 1200
61 |  | Supply Fixing of - 10 sq.mm x 4 core Glands | Supply Fixing of - 10 sq.mm x 4 core Glands | Nos | 2 | 500
62 |  | Supply Fixing of - 16 sq.mm x 4 core Glands | Supply Fixing of - 16 sq.mm x 4 core Glands | Nos | 2 | 530
63 |  | Supply Fixing of - 50 sq.mm x 3.5 core Glands | Supply Fixing of - 50 sq.mm x 3.5 core Glands | Nos | 2 | 830
64 |  | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands | Nos | 12 | 2880
65 |  | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands | Nos | 24 | 5832
66 |  | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands | Nos | 8 | 2080
67 |  | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands | Nos | 8 | 2120
68 |  | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands | Nos | 4 | 1040
69 |  | Supply Fixing 5 A Top | Supply Fixing 5 A Top | Nos | 5 | 375
70 |  | Supply Fixing 15 A Top | Supply Fixing 15 A Top | Nos | 15 | 1500
71 |  | Supply Installation of - 10 Modular plate with box | Supply Installation of - 10 Modular plate with box | Nos | 4 | 1440
72 |  | Supply Installation of - 8 Modular plate (Horizontal) with box | Supply Installation of - 8 Modular plate (Horizontal) with box | Nos | 1 | 278
73 |  | Supply Installation of - 6 Modular plate with box | Supply Installation of - 6 Modular plate with box | Nos | 13 | 2990
74 |  | Supply Installation of - 4 Modular plate with box | Supply Installation of - 4 Modular plate with box | Nos | 2 | 380
75 |  | Supply Installation of - 3 Modular plate with box | Supply Installation of - 3 Modular plate with box | Nos | 16 | 2640
76 |  | Supply Installation of - 2 Modular plate with box | Supply Installation of - 2 Modular plate with box | Nos | 2 | 260
77 |  | Supply Installation of - 16A switch socket metal Box | Supply Installation of - 16A switch socket metal Box | Nos | 13 | 3770
78 |  | Supply Installation of - 5 15A 5 pin socket | Supply Installation of - 5 15A 5 pin socket | Nos | 15 | 2625
79 |  | Supply Installation of - 5 15A 5 pin switch | Supply Installation of - 5 15A 5 pin switch | Nos | 15 | 1650
80 |  | Supply Installation of - 5 15A 3 pin socket | Supply Installation of - 5 15A 3 pin socket | Nos | 10 | 1150
81 |  | Supply Installation of - Data Socket | Supply Installation of - Data Socket | Nos | 15 | 6750
82 |  | Supply Installation of - USB charging Sockets | Supply Installation of - USB charging Sockets | Nos | 10 | 8500
83 |  | Supply Installation of - Blank Plate | Supply Installation of - Blank Plate | Nos | 12 | 300
84 |  | Supply Installation of - 8 Modular Surface Box | Supply Installation of - 8 Modular Surface Box | Nos | 5 | 490
85 |  | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate | Nos | 2 | 480
86 |  | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate | Nos | 2 | 550
87 |  | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) | Mtr | 525 | 25725
88 |  | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. | Mtr | 30 | 30000
89 |  | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. | Mtr | 45 | 29250
90 |  | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing | Nos | 4 | 6700
91 |  | Rubber Mat | Rubber Mat | Nos | 2 | 3000
92 |  | Supply and Installation of Ceiling Rose | Supply and Installation of Ceiling Rose | Nos | 45 | 1125