## LIGHT SCHEDULE
HYD -DHABA LIGHTING SCHEDULE | [10 empty] | NOTE
S. No | LIGHT TYPE | TEMPERATURE | WATTS | QTY | DIMENSION | FINISH | BODY COLOUR | REFERENCE PICTURE | RENDER |  |  |  | Unit Price | Total Amount
HD-L-01 | PENDENT LIGHT WITH LED BULB | 3000K | 8 LIGHTS 3 WATTS EACH | 9 | 700MM DIA | WOOD, FABRIC |  |  |  | BRAND : FOS LIGHTING MODEL : Shal-WD-DIST0-BLU-EmbrdyWhite6-CH8 CONTACT : 9821501286 |  | S. No HD-L-01 LIGHT TYPE PENDENT LIGHT WITH LED BULB TEMPERATURE 3000K WATTS 8 LIGHTS 3 WATTS EACH DIMENSION 700MM DIA FINISH WOOD, FABRIC | 48000 | 432000
HD-L-02 | WALL LIGHT WITH LED BULB | 3000K | 40 WATTS | 3 | 125MM DIA | ANTIQUE BRASS |  |  |  | BRAND : FOS LIGHTING MODEL : Shal-WD-DIST0-BLU-EmbrdyWhite6-CH8 CONTACT : 9821501286 | ANOTHER OPTION FOR WALL LAMP CAN BE MADE BY CUSTOMIZING THE ABOVE MENTIONED CHANDELIER WITH SAME DESIGN | S. No HD-L-02 LIGHT TYPE WALL LIGHT WITH LED BULB TEMPERATURE 3000K WATTS 40 WATTS DIMENSION 125MM DIA FINISH ANTIQUE BRASS | 3100 | 9300
HD-L-03 | LED BULB | 3000K | 3 WATTS | 78 | [7 empty] | S. No HD-L-03 LIGHT TYPE LED BULB TEMPERATURE 3000K WATTS 3 WATTS DIMENSION FINISH | 350 | 27300
HD-L-04 | LAMP WITH LED BULB | 3000K | 5 WATT | 1 |  |  | RED |  |  |  |  | S. No HD-L-04 LIGHT TYPE LAMP WITH LED BULB TEMPERATURE 3000K WATTS 5 WATT DIMENSION FINISH | 2100 | 2100
HD-L-05 | PANEL LIGHT | 4000K | 36 WATTS | 8 | 600X600MM |  | WHITE |  |  |  |  | S. No HD-L-05 LIGHT TYPE PANEL LIGHT TEMPERATURE 4000K WATTS 36 WATTS DIMENSION 600X600MM FINISH | 1400 | 11200
HD-L-06 | GLOBE LIGHT | 3000K | 12 WATTS | 2 | 350MM DIA |  | WHITE |  |  |  |  | S. No HD-L-06 LIGHT TYPE GLOBE LIGHT TEMPERATURE 3000K WATTS 12 WATTS DIMENSION 350MM DIA FINISH | 4000 | 8000
HD-L-07 | MODULE LIGHT | 3000K |  | 1 | 900mm X 1050mm |  | WHITE |  |  | Vendor have to share the qty according to the size |  | S. No HD-L-07 LIGHT TYPE MODULE LIGHT TEMPERATURE 3000K WATTS DIMENSION 900mm X 1050mm FINISH | 1200 | 1200 | 48Modules
[13 empty] | Amount | 491100
[13 empty] | GST 18% | 88398
[13 empty] | Total Amount | 579498