## Lights
F | Lights SERVICES WORKS |  | Lumiceil Solutions
|  |  | Quantity | Rate | Amount | SHIVA SHAKTI
1 | Recess mounted circular LED downlighter, size 165 mm dia . 30 WAT COB 3000KV, colour warm white | Each | 9 | 1350 | 12150
2 | Providing and fixing of profile light size 12mm x length as per site conditions to incorprate with it and fix,as shown in the dwg as of architect approved. | sft | 150 | 290 | 43500 |  | Price considering 12mm Neon Flex strip 180LED 5MM strip for 45.76Mtr/150 Sq Ft. 2.5 AMP Driver, 1nos driver to control 5MTR. Assuming the total length required is 150 Sq Ft. so price is bid for per Sq. Ft.
3 | Circular suspended hanging light, size 300 mm dia,Dome shaped lamp shaded,led pendent light,9 watt warm white. | Each | 5 | 3800 | 19000 | as show in image | Dimensions: 34x34x26 CM CORD Length: 1 MTR, Weight: 540gm, 9W E27 3000K
| Fire alarm system conventional as per design with conduiting , wiring ,detectors & hooters, Panels etc complete with integration. | Sqft | 420 | 0 | 0
|  |  |  | Total | 74650
|  |  |  | 18% GST | 13437
|  |  |  | Total Amount | 88087