## Lights
F | Lights SERVICES WORKS |  | Lumiceil Solutions
|  |  | Quantity | Rate | Amount | SHIVA SHAKTI
1 | Recess mounted circular LED downlighter, size 165 mm dia . 30 WAT COB 3000KV, colour warm white | Each | 9 | 1350 | 12150
2 | Providing and fixing of profile light size 12mm x length as per site conditions to incorprate with it and fix,as shown in the dwg as of architect approved. | sft | 150 | 85 | 12750 |  | Price considering 12mm Neon Flex strip 180LED 5MM strip for 13.93Mtr/150 Sq Ft. along with 3nos 12.5 AMP Driver, 1nos driver to control 5MTR. Assuming the total length required is 150 Sq Ft. so price is bid for per Sq. Ft.
3 | Circular suspended hanging light, size 300 mm dia,Dome shaped lamp shaded,led pendent light,9 watt warm white. | Each | 5 | 3800 | 19000 | as show in image | Dimensions: 34x34x26 CM CORD Length: 1 MTR, Weight: 540gm, 9W E27 3000K
| Fire alarm system conventional as per design with conduiting , wiring ,detectors & hooters, Panels etc complete with integration. | Sqft | 420 | 0 | 0
|  |  |  | Total | 43900
|  |  |  | 18% GST | 7902
|  |  |  | Total Amount | 51802