## SUMMARY
SUMMARY
BOQ of Interior work for Copper Chimney Project, Linking Road, Bandra
MATERIAL + LABOUR COST
A |  | DEMOLITION WORKS (FOH) |  | 37125
B |  | INTERIOR CIVIL WORK (FOH) |  | 421640
C |  | STONE & TILE WORKS (FOH) |  | 1216805
D |  | TOTAL OF CIVIL WORK |  | 3015725
E |  | TOTAL OF POP & PAINTING WORK |  | 1492250
F |  | TOTAL DOORS |  | 1365198.8003
G |  | TOTAL CARPENTARY WORKS (DINING AREA) |  | 9949240.0421
H |  | TOTAL CARPENTARY WORKS (WASHROOMS) |  | 722577
I |  | TOTAL MISCELLANEOUS |  | 637500
|  |  | Total | 18858060.8424
|  |  | Grand Total | 18858060.8424
TOATAL CARPET AREA (sq.ft.)
|  | COST / SQ.FT |  | #DIV/0!
| NOTE | This is an approximate budgetary cost
NOTES:
1 | Contingencies to be considered @ 10% for the changes during course of the execution.
2 | All costs are excluding taxes, cost, etc.

## CIVIL WORK FOH
BOQ of Civil work for Copper Chimney Project, Linking road, Bandra |  |  |  |  | 2024-06-05 |  | R0
SR.NO. | ITEM | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT | REMARK
GENERAL SITE WORKS (FOH)
1 | Pest control at site | Providing Pest Control & Anti-termite treatment by appointing a specialized agency as per the specifications mentioned by the Bureau of Indian Standard & Agencies specification ( Whichever is higher ) for General Civil , Plumbing / Drainage & timber / Carpentry works , Gypsum related work including 5 Years guarantee under suitable undertaking on stamp paper etc complete as directed.(Mode of Measurement to be on carpet area of floor & not the area of surface treated.) | SQ.FT. | 2475 | 15 | 37125
2 | Loading Unloading | Civil and Interior Material Shifting Unloading, Lifting and Shifting of all the equipments to the CC premises | JOB | 1 |  | 0
|  | DEMOLITION WORKS (FOH) |  |  |  | 37125
1 | Demolition Work | Demolition of existing Brick wall , including cleaning the surface & dump the debris's at ground floor debris point.Demolition of existingkitchen counter & wash basin counter, including cleaning the surface & dump the debris's at ground floor debris point. | SQ.FT. | 450 | 42 | 18900
2 | Floor breaking | Dismantling / Demolishing the 400 mm thk flooring as specified by the EIC | SQ.FT. | 1500 | 120 | 180000
3 | Wall Chasing | Chasing in existing brick/siphorex/concrete wall, up to 200mm wide and 75mm deep, for installation of A.C. copper pipes/drain pipes as required and making good of chases with cement plaster/POP ready for application of paint. | R.FT. | 150 | 46 | 6900
4 | Wall Puncture | Making punctures in existing brick/siphorex/concrete wall block for passing A.C. copper pipes/drain pipes as required and making good the same with cement plaster/POP. | NO's | 5 | 664 | 3320 | As actual
5 | Debris | Removing Debris out of site included loading, unloading & shifting as per statutory rules and regulations. | NO's | 20 | 10626 | 212520 | As actual
|  | INTERIOR CIVIL WORK (FOH) |  |  |  | 421640
1 | Waterproofing | P&A Elastromeric membrane Waterproofing (2 layers) with base preperation & screeding protection on mother slabs & wall till 900mm height, with membrane water proofing treatment on the mother slab, before doing the treatment mother slab needs to clean properly up to the mark & dust free surface needs to achieve to apply the chemical (proof bond /BASF, Dr. Fixit / Equivalent make) & chemical needs to dry properly, After all there should be a water pond testing to be done for water tightness & rectifications of defects if any. Complete with 10 years performance guarantee with client's satisfaction. Entire process to be done under guideline & supervision of appointed engineering team.
| a | Left side full length wall upto full ht. | SQ.FT. | 1050 | 380 | 399000
| b | Right side near back entry side full length wall upto full ht. | SQ.FT. | 250 | 380 | 95000
| c | Bar floor | SQ.FT. | 70 | 380 | 26600
| d | Bar wall up to 900 mm | SQ.FT. | 35 | 380 | 13300
2 | Vata | P&A vata 150 X 150 mm and plaster with water proofing compound including dressing, cleaning, watering, curing etc. complete as per detail drawing or as directed by architect or el. | R.FT. | 150 | 297 | 44550
3 | Block Work | Providing and constructing Light weight blocks masonry in cement mortar 1:4 of approved make like Aerocon/Siporex etc. Job to include raking out joints, scaffolding, making openings walls, curing etc. in substructure and superstructure to its true line & level in cement mortar proportion as specified in all shapes, size, at all heights, depths, leads & locations etc. complete. The rate shall also include for cleaning of surface, hacking of RCC surface in contact with brickwork, racking of joints, providing, erecting, & dismantling steel scaffolding , curing for 10 days, including 75 mm thk. R.C.C. stiffener at approximately every 1000 mm ht. with required M.S. reinforcement bars and Lintels for Doors and wall openings etc. compete as per the drgs., details & specifications.
| a | Using 100mm thk Walls upto 1050 mm | SQ.FT. | 35 | 183 | 6405
4 | Internal Plaster | P&A of single coat backing plaster of 15-18 mm thick in CM 1:4 proportion to the walls & others surface including scaffolding, curing the joints, etc. The rates are inclusive of providing chicken mesh of 18mm gauge & 150mm width at junction of brick & RCC etc. at the walls, columns, beams etc., seven days water treatment as anti crack of plaster. Complete as per site engineer's instruction.
| a | Bar Area (low height wall 1050mm) | SQ.FT. | 175 | 84 | 14700
| b | Wall height (3500mm) (may vary as per actual site measurement) | SQ.FT. | 1300 | 84 | 109200
5 | PCC Work | Providing and laying up to 50 mm thick cement concrete flooring with 1:4:8 cement concrete laid to proper level and slope in alternate bays including compactions, filling joints, or as directed, finishing smooth with cement Mortar 1:1 of sufficient minimum thickness to give a smooth & even surface and curing etc. complete as per architects instructions. | SQ.FT. | 2475 | 110 | 272250
6 | COBA Work (AAC) | AAC blocks of Avg. thickness mentioned below; After laying of soil pipes, floor traps is completed the floor of the sunken portion shall be covered with Modiform manually with 15-20 mm wide joints in 20 mm thk. Waterproofing mortar 1:4 ( 1 cement : 4 coarse sand )in layers upto the full ht. of sunken portion, having top layer of 50 mm thk waterproof mortar 1:4 ( 1 cement : 4 coarse sand ) using specialized W.P. chemical, finished smooth / rough with floating coat of neat cement all complete and as per specification. | SQ.FT. | 900 | 262 | 235800
|  | STONE & TILE WORKS (FOH) |  |  |  | 1216805
1 | KOTA Flooring | Providing and Laying KOTA stone of 19mm thk. on avg 75 mm thk. bed of 1:4 cement mortar in proper line and level including neat cement float, filling joints with neat cement slurry of appropriate colour, cleaning, curing, rubbing, complete. Scope includes laying of floor protective cover on the floor and removing of the same when directed along with supply of all necessary materials, labour, tools and tackles complete in line with the Technical Specification, Drawings and as per the direction of the Architect & PMC. Including Polishing.
Size : 550 x 550 Basic Rate : 55/- Per SQ.FT.
| a | Bar | SQ.FT. | 75 | 300 | 22500
2 | Kota Skirting | Fixing & laying of 75 mm high kota skirting with bedding of appropriate approved make adhesive & colour joint filler inclusive of making all groove/chamfering/rounding/hole where ever required, in proper line and level in all direction, polishing/finishing/cleaning etc. Complete as per detail drawing, specification and as directed by PMC. | R.FT. | 25 | 164 | 4100
size - 100 x 550. Basic Rate : 55/- Per SQ.FT.
3 | Granite threshhold | P&F of Black leather finish granite threshold at the edges of the doors.
|  | 6" thk granite threshold | R.FT. | 10 | 475 | 4750
Basic Rate :- 280/sqft
5 | Grey William Marble Flooring | Fixing & laying of Grey william marble for flooring which includes 75 mm thk. bedding material with mortar of 1:6 ratio (1cement:6sand), spreading of grey cement slurry with minimum of 2kg/ Sq.mt. ratio over bedding mortar, including 2mm spacer with epoxy grout of approved colour, adhesive of bal Endura or approved equivalent, making of hole where ever required, in proper line and level in all direction, at all height with lead and lift, polishing/finishing/cleaning etc. as per design and drawing and directed by PMC etc. complete. | SQ.FT. | 2050 | 1158 | 2373900
Basic Rate : 450/- Per SFT (Grey william marble)
6 | Mosaic Tile Flooring (Entrance Foyer) | Fixing & laying of Mosaic tile flooring/water jet cut tiles (combination of 2-3 tiles) in specific pattern for flooring which includes 75 mm thk. bedding material with mortar of 1:6 ratio (1cement:6sand), spreading of grey cement slurry with minimum of 2kg/ Sq.mt. ratio over bedding mortar, including 2mm spacer with epoxy grout of approved colour, adhesive of bal Endura or approved equivalent, making of hole where ever required, in proper line and level in all direction, at all height with lead and lift, polishing/finishing/cleaning etc. as per design and drawing and directed by PMC etc. complete. | SQ.FT. | 300 | 970 | 291000
size : 50 x 50mm Basic Rate : 450/- Per SFT
7 | Grey William Marble Skirting | Fixing & laying of 100mm high marble for skirting with bedding of appropriate approved make adhesive & colour joint filler inclusive of making all groove/chamfering/rounding/hole where ever required, in proper line and level in all direction, polishing/finishing/cleaning etc. Complete as per detail drawing, specification and as directed by PMC. | R.FT. | 400 | 409 | 163600
size : 100 high . Basic Rate : 450/- Per SFT (Grey william marble)
8 | Glazed Subway Wall Tiles(Façade) | Providing and fixing Glazed handmade subway wall tiles (facade) which includes-approved make of adhesive like bal Endura or equivalent, grey cement paste with backing coat of 1:3 cement mortar not less than 12mm thick as & where ever required, joint filler of approved make and colour, as and where ever required, in proper line and level in all direction, at all height with lead and lift, polishing/finishing/cleaning etc as per design, drawing and directed by PMC etc. all complete.
Size : 60 x 200 Rate : 275/- per SFT
| a | Façade upto 600 mm approx. | SQ.FT. | 125 | 651 | 81375
9 | Wall Tiles | Providing and fixing Ceramic wall tiles which includes-approved make of adhesive like bal Endura or equivalent, dry cladding on calcium board panelling, 2 mm spacer of epoxy grout approved make and colour, as and where ever required, in proper line and level in all direction, at all height with lead and lift, polishing/finishing/cleaning etc as per design, drawing and directed by PMC etc. all complete. (Color - white/ ivory)
Size : 300x600. Rate : 45/- per SFT
| a | Bar Area ( upto 1050 mm approx.) | SQ.FT. | 100 | 197 | 19700
10 | Brass Inlay in Flooring | P&F of 6-8 mm thick Antique brass floor inlay fixing with thread screws on each corner of the kitchen's wall before cladding of tiles, so that the corner may be protected from the damages. Complete in proper line & level and site engineer's instruction. | R.FT. | 100 | 548 | 54800
|  | TOTAL OF CIVIL WORK |  |  |  | 3015725
POP & PAINTING WORK (FOH & BOH)
1 | POP Punning | Providing and applying Plaster of Paris punning of average thickness 20 -25mm to existing wall surfaces/ on existing tiles including chicken mesh in true level and plumb complete as per design and drawing Cleaning the surface properly with sand paper, filling cracks/holes with plaster of Paris. Applying lambi / putty (lambi/putty will be of good quality) sand papering the putty work on chamfers, etc.at any / all heights. Rate include cost for making grooves up to 12mm thick if required in horizontal or vertical direction near doors, windows, skirting, floor covering, masking tape and cleaning the area all complete as per drawing, design & manufactures specification.
| a | Block work walls | SQ.FT. | 2750 | 59 | 162250
| b | Curving as per design | SQ.FT. | 2200 | 59 | 129800
2 | Gypsum Ceiling | Providing, making and fixing of POP false ceiling as per manufacturer design and drawing including cut-outs for hvac grill, lights etc. at any / all heights. Rate quoted should be including of vertical drop of any heights, mouldings and size mentioned in drawings with necessary required framing in 450 x 900 ultra Gyproc sections, fittings, and fixtures, scaffolding, floor covering, masking tape and cleaning the area all complete as per drawing, design & manufactures specification all complete. Rates do not include painting work. | SQ.FT. | 1500 | 164 | 246000 | Quantity updated as per HVAC layout
3 | Main Ceiling (kitchen & live kitchen) | Providing & applying three (02) coats of approved Plastic paint (Fire rated) on walls including scraping, primer , filling with putty etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SQ.FT. | 825 | 66 | 54450
4 | Textured Wall Paint ( stucco ) | Providing & applying three (03) coats of approved Texture Stucco Paint on walls including scraping, primer , filling with putty etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SQ.FT. | 1800 | 203 | 365400 | Basic Cost - Rs.120/Sft
5 | Textured Wall Paint ( concrete finish ) | Providing & applying three (03) coats of approved Texture concrete finish Paint on walls including scraping, primer , filling with putty etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SQ.FT. | 225 | 368 | 82800 | Basic Cost - Rs.220/Sft
6 | Ceiling Paint ON Gypsum (Firated) | Providing & applying three (03) coats of approved Plastic Paint on exposed surface on ceiling including scraping, primer , filling with putty etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SQ.FT. | 225 | 66 | 14850
7 | Expose Ceiling Paint including all beams | Providing & applying Three (03) coats of approved Texture Stucco Paint on exposed surface on ceiling including HVAC ducts, Sprinkler Pipes etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SQ.FT. | 2000 | 203 | 406000 | Basic Cost - Rs.120/Sft
8 | Duct painting | Providing & applying Three (03) coats of Satin Enamel Paint (as per approved shade) on exposed surface on metal duct including removing of old paint, required zink oxide paint etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SQ.FT. | 500 | 44 | 22000
9 | Fire Sprinkler paint | Providing & applying two (02) coats of Fire Rated Paint as per standard on exposed surface on metal including removing of old paint etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SQ.FT. | 100 | 87 | 8700
|  | TOTAL OF POP & PAINTING WORK |  |  |  | 1492250

## INTERIOR WORK
BOQ of Interior work for Copper Chimney Project, Linking Road, Bandra | [6 empty] | 18/5/2024 |  |  | R0
SR.NO. | ITEM | DESCRIPTION | LOCATION | DIMENSION | UNIT | QTY. | RATE | AMOUNT | IMAGE | REMARK
DOORS
1 | Main Door D1 | Providing & fixing in position of wooden FRD single leaf openable door made up of 45mm thick fire rated flush door shutter of approved make & thickness, both side to be finished in dark walnut polish including providing & fixing 20 x 40mm wooden frame on all 3 sides & bottom wood finished in veneer with dark walnut polish with 20 mm thk. wooden moulding on all 4 sides & 12mm thk. toughened clear glass with 10 mm wooden beading patti and all necessary required groove, wooden framing, including glass door with heavy duty floor spring fixing with approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. Including door floor lock & main door handle made of ss plate finished with pvd coating of antique brass finish. Need heavy duty floor spring & both sides openable. | MAIN ENTRY | 1200X 2400MM | NOS. | 1 | 125425 | 125425
2 | Exisitng Main Door D1A | Providing & fixing in position of wooden FRD single leaf openable door made up of 45mm thick fire rated flush door shutter of approved make & thickness, internally finished in dark walnut polish at bottom & externally finished with providing & fixing 20 x 40mm wooden frame with 12 mm thk glass with 10 mm wooden beading patti & bottom to be cladded with subway tile as per design With all necessary required groove, wooden framing, including glass door with heavy duty floor spring fixing with approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. Including door floor lock & main door handle made of ss plate finished with pvd coating of antique brass finish. | - | 950 X 2400MM | NOS. | 1 | 119343 | 119343 |  | Tiles to be paid Seperately.
3 | Service Door D2 | Providing & fixing in position Single Leaf Door made up of 38mm thick commercial ply flush door shutter of approved make & thickness, both side to be finished with laminate including providing & fixing 20 mm thk Wooden moulding all around, including P/F of Door frame made out of CP Teak / Ash wood or equivalent with laminate. Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware's such as s/s handles, floor spring and any other hardware etc required to complete the related works as per design & detail. Door hardware make consider Dorma / Hafele/Ozon /equilient | - | 900 X 2100MM | NOS. | 1 | 85971 | 85971
4 | Kitchen Door D3 | Providing & fixing in position of wooden FRD Double Leaf Door made up of 45mm thick fire rated flush door shutter of approved make & thickness, Inner side finished with wooden laminate and outer side with veneer finished in dark walnut polish including providing & fixing 250mm X 150mm with 6 mm thk. fire rated glass Vision panel and 12mm thk Wooden lipping all around, including of 600 x 225 mm SS push plate and 300mm high SS kick plate, including P/F of Door frame made out of CP Teak / Ash wood or equivalent with dark walnut polish finish. Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware's such as ss handles/ ss push plate, floor spring and any other hardware etc required to complete the related works as per design & detail. door hardware make consider Dorma / Hafele/Ozon /equilient. Need heavy duty floor spring & both sides openable. | KITCHEN ENTRY | 1500 X 2100 MM | NOS. | 1 | 163858 | 163858
5 | Live Kitchen Door D4 | Providing & fixing in position of wooden FRD Sliding door made up of 45mm thick fire rated flush door shutter of approved make & thickness, both side to be finished in dark walnut polish including providing & fixing 250mm X 150mm with 6mm thk. fire rated glass Vision panel and 12mm thk Wooden lipping all around, including conceal handle & 300 x 400 mm opening and 300mm high SS kick plate, including P/F of Door frame made out of CP Teak / Ash wood or equivalent with dark walnut polish finish. Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware's such as sliding channel, s/s handles/ ss push plate, lock, tower bolt and any other hardware etc required to complete the related works as per design & detail. door hardware make consider Dorma / Hafele/Ozon /equilient. Need heavy duty sliding channel. | LIVE KITCHEN ENTRY | 900X 2100 MM | NOS. | 1 | 130854 | 130854
6 | Kitchen Service Entry D5 | Providing & fixing in position of wooden FRD single Leaf Door made up of 45mm thick fire rated flush door shutter of approved make & thickness, Inner side finished with wooden laminate and outer side with veneer finish in dark walnut polish including providing & fixing 250mm X 150mm with 6mm thk. fire rated glass Vision panel and 12mm thk Wooden lipping all around, including of SS handle outside & panic bar inside and 300mm high SS kick plate, including P/F of Door frame made out of CP Teak / Ash wood or equivalent with dark walnut polish finish. Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware's such as s/s handles/ ss push plate, floor spring and any other hardware etc required to complete the related works as per design & detail. door hardware make consider Dorma / Hafele/Ozon /equilient. Need heavy duty floor spring & both sides openable. | KITCHEN (FIRE EXIT) | 900 X 2100 MM | NOS. | 1 | 130854 | 130854
7 | Store Door D6 | Providing & fixing in position of wooden FRD Sliding door made up of 45mm thick fire rated flush door shutter of approved make & thickness, both side to be finished with laminate including providing & fixing 250mm X 150mm with 6mm thk. fire rated glass Vision panel and 12mm thk Wooden lipping all around, including conceal handle and 300mm high SS kick plate, including P/F of Door frame made out of CP Teak / Ash wood or equivalent finished with laminate . Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware's such as sliding channel, s/s handles/ ss push plate, lock, tower bolt and any other hardware etc required to complete the related works as per design & detail. door hardware make consider Dorma / Hafele/Ozon /equilient.Need heavy duty sliding channel. | - | 900 X 2100MM | NOS. | 1 | 120545 | 120545
8 | Washroom Door D7 | Providing & fixing in position Single Leaf Door made up of 38mm thick commercial ply flush door shutter of approved make & thickness, both side veneer finished including providing & fixing 20 mm thk Wooden moulding all around, including P/F of Door frame made out of CP Teak / Ash wood or equivalent with dark walnut polish finish. Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware's such as s/s handles, floor spring and any other hardware etc required to complete the related works as per design & detail. Door hardware make consider Dorma / Hafele/Ozon /equilient | - | 750 X 2100MM | NOS. | 5 | 91851 | 459255
9 | Trap Door | Providing and fixing trap doors for access to the service areas. The trap door shall have an external frame made of 50mm x 50mm in good quality seasoned wood scantling on which the shutter is hinged. Shutter shall be made of 19 mm. fire rated Plywood. The exposed side & Internal side shall be laminate finish. Concealed heavy duty hinges shall be used to mount the shutters and locking shall be provided with Allen key and panel locks. Sufficient number of hinges and locks shall be provided to avoid sagging of the shutter. Key also shall be supplied. | - | 600 X 1200 MM | NOS. | 2 | 14546.9002 | 29093.8003
|  | TOTAL DOORS | [5 empty] | 1365198.8003
CARPENTRY WORK (DINING AREA)
1 | Service Station 1 | Service Station - (1560x550x900 mm) - Providing and fixing service station in wood with dark walnut finish from outer surface & 40 mm thk. top finished in grey william marble. The storage under the Counter should be provided with 6" ht. drawers at top row with drawer apron finished in dark walnut polish. Openable Shutters finished with 25mm wooden frame finished with dark walnut polish fixed with cane & wooden beading patti on all 4 sides of each shutter & all the visible areas to be finished with dark walnut polish. The drawer should have internal partiton with fabric finish for cutlery, Shutters made out of 19mm thk. fire rated plywood finished with 1mm thk. laminate internally. The shutters to be provided with fittings such as hinges, handles, ball catch, locks etc. complete in all respect. The rates for the Shutters to be included. as per design and details. Any 1 drawer (in each service station) should have 3 compartments made in ply finished with fabric for cutlery and bottom storage should have 1 shelf for crockery, shelf in ply finished with white laminate internally. |  | 1560mm L X 550mm W X 900 H | NOS. | 1 | 104301 | 104301
Plywood - branded fire rated -- Greenply or Equivalent brand
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
2 | Service Station 2 | Service Station - (1310x550x900 mm) - Providing and fixing service station in wood with dark walnut finish from outer surface & 40 mm thk. top finished in grey william marble. The storage under the Counter should be provided with 6" ht. drawers at top row with drawer apron finished in dark walnut polish & concealed handle. Bottom to be kept open for movable trolley as per design finished with dark walnut polish in all the visible areas. The drawer should have internal partiton with fabric finish for cutlery. The drawers to be provided with fittings such as telescopic channel, ball catch, locks etc. complete in all respect. Any 1 drawer (in each service station) should have 3 compartments made in ply finished with fabric for cutlery. |  | 1310mm L X 550mm W X 900 H | NOS. | 1 | 94604 | 94604
Plywood - branded fire rated -- Greenply or Equivalent brand
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
3 | Service Station 3 | Service Station (2300x550x900 mm) - Providing and fixing service station in wood with dark walnut finish from outer surface & 40 mm thk. top finished in grey william marble. The storage under the Counter should be provided with 6" ht. drawers at top row with drawer apron finished in dark walnut polish & concealed handle. Bottom to be 20 mm thk. 1 or 2 open shelf as per design finished with dark walnut polish in all the visible areas. The drawer should have internal partiton with fabric finish for cutlery. The drawers to be provided with fittings such as telescopic channel, ball catch, locks etc. complete in all respect. Any 1 drawer (in each service station) should have 3 compartments made in ply finished with fabric for cutlery. |  | 2300mm L X 550mm W X 900 H | NOS. | 1 | 134752 | 134752
Plywood - branded fire rated -- Greenply or Equivalent brand
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
4 | Masala Unit | Masala Unit (745x400x1500 mm) - Providing and fixing wooden Masala unit finished with dark walnut polish having 25 x 25mm wooden frame on front side around all 4 sides with openable shutters & 100 mm high wooden legs. The shutters to be made of 25 x 25 mm wooden frame in dark walnut polish with 12 mm thk. toughened glass & 10 mm wooden lipping patti. The unit to have 20 mm thick ply shelf finished with veneer in dark walnut finish including all necessary hardware etc. complete. |  | 745mm L X 400mm W X 1500 H | NOS. | 1 | 133836 | 133836 | 119763.7584
5 | Electrical panel | Electrical Panel Cabinet (2025x450x2870 mm) - Providing and fixing electrical panel shutters with 25mm thk. fire rated plywood with veneer finished in dark walnut polish as per design & shutters to have provision for wooden louvers. Including all necessary required wooden framing, approved make adhesive and fasteners, Lock, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. 100 mm high platform to be made for in civil. |  | 2025x 450 x 2870 mm (H) | NO. | 1 | 266948 | 266948
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
6 | UPS Battery Panel | UPS Battery Panel Cabinet (1750x550x2700 mm) - Providing and fixing UPS Battery panel shutters with 25mm thk. fire rated plywood finishedin laminate as per design & shutters to have provision for wooden louvers. Including all necessary required wooden framing, approved make adhesive and fasteners, Lock, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. 100 mm high platform to be made for in civil. |  | 1750x 550 x 2700 mm (H) | NO. | 1 | 127598 | 127598
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
7 | Calcium board Panelling 25 x 50 mm for live kitchen | Providing, making and fixing of live kitchen paneling made of 12mm thk branded calcium board paneling on both sides including 25 x 50mm MS framework upto height of 300 mm framework to be finished with zink oxide and enamel finish with all necessary required framing, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  |  | SQ.FT. | 30 | 931 | 27930
8 | Calcium board Panelling 25 x 50 mm | Providing, making and fixing of wall paneling made of 12mm thk branded calcium board paneling on wall including 25 x 50mm Aluminium framework from slab to slab height of upto 3000 mm framework to be finished with all necessary required framing, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  |  | SQ.FT. | 175 | 796 | 139300
9 | Calcium board Panelling 25 x 75 mm | Providing, making and fixing of wall paneling made of 12mm thk branded calcium board paneling on wall including 25 x 75mm Aluminium framework from slab to slab height of upto 3000 mm framework to be finished with all necessary required framing, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  |  | SQ.FT. | 25 | 916 | 22900
10 | Calcium board Panelling 25 x 100 mm | Providing, making and fixing of wall paneling made of 12mm thk branded calcium board paneling on wall including 25 x 100mmAluminium framework from slab to slab height of upto 3500 mm framework to be finished with all necessary required framing, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  |  | SQ.FT. | 525 | 1049 | 550725
11 | Screen 1 | Screen (920x1500 mm) - Providing, making and fixing of Screen structure made of 25 x 25 mm MS box section finished with black powder coating from ledge table upto ceiling height on all 4 sides fixed with Cane by 10 mm thk. wodden lipping patti & 2-3nos. of 25 mm thk. MS box section finished with black powder coating on back side of the screen with all necessary fittings as & hardware per design and details. |  | 920 x 1500mm ht.(HT MAY VARY AS PER SITE BEAM BOTTOM) | NOS. | 2 | 29990 | 59980
12 | Screen 1A (Near Female washroom) | Screen (920x3000 mm) - Providing, making and fixing of Screen structure made of 25 x 25 mm MS box section finished with black powder coating from floor upto ceiling height on all 4 sides fixed with Cane by 10 mm thk. wodden lipping patti & 2-3nos. of 25 mm thk. MS box section finished with black powder coating on back side of the screen with all necessary fittings as & hardware per design and details. |  | 920 x 3000mm ht. | NO. | 1 | 52647 | 52647
13 | Screen 2 (Above banquette seating) | Screen (615x1500 mm) - Providing, making and fixing of Screen structure made of 25 x 25 mm MS box section finished with black powder coating upto ceiling height on all 4 sides fixed with Cane by 10 mm thk. wodden lipping patti & 2-3nos. of 25 mm thk. MS box section finished with black powder coating on back side of the screen with all necessary fittings as & hardware per design and details. |  | 615 x 1500mm ht.(HT MAY VARY AS PER SITE BEAM BOTTOM) | NO. | 4 | 23729 | 94916
14 | Curve Screen (Above banquette seating) | Curve Screen (1400x1500 mm) - Providing, making and fixing of Screen structure made of 25 x 25 mm MS box section finished with black powder coating upto ceiling height on all 4 sides fixed with Cane by 10 mm thk. wodden lipping patti & 2-3nos. of 25 mm thk. MS box section finished with black powder coating on back side of the screen with all necessary fittings as & hardware per design and details. |  | 1400 x 1500mm ht.(HT MAY VARY AS PER SITE BEAM BOTTOM) | NO. | 1 | 38500 | 38500
15 | Screen 3 (Above banquette seating) | Screen (850x1500 mm) - Providing, making and fixing of Screen structure made of 25 x 25 mm MS box section finished with black powder coating upto ceiling height on all 4 sides fixed with Cane by 10 mm thk. wodden lipping patti & 2-3nos. of 25 mm thk. MS box section finished with black powder coating on back side of the screen with all necessary fittings as & hardware per design and details. |  | 850 x1500mm ht.(HT MAY VARY AS PER SITE BEAM BOTTOM) | NO. | 8 | 27631 | 221048
16 | Arched shaped Portal 1 (Entrance Foyer) | Entrance Foyer Arch Shaped Portal ( 4545x3000 mm) Providing, making and fixing of Arch shaped Wooden Portal made with 50 x 50mm wooden frame on all 3 sides & 50 x 100 mm bottom wooden frame member with 25 x 25 mm horizontal & vertical wooden member at equal distances as per drawing finished in dark walnut polish with textured 12 mm thk glass fixed by 10 mm thk. wooden lipping patti with an opening of 1650 x 2400 mm with all necessary fittings as & hardware per design and details. |  | 4545 x 3000mm ht.(HT MAY VARY AS PER SITE BEAM BOTTOM) | NO. | 1 | 337450 | 337450
17 | Arch shaped Portal 2 (Entrance Foyer) | Arch shaped Portal 2 (Entrance Foyer) - 1950x3000 mm -Providing, making and fixing of Arch shaped Wooden Portal made with 50 x 50mm wooden frame on all 3 sides & 50 x 100 mm bottom wooden frame member with 25 x 25 mm horizontal & vertical wooden member at equal distances as per drawing finished in dark walnut polish with textured 12 mm thk glass fixed by 10 mm thk. wooden lipping patti with an opening of 1650 x 2400 mm with all necessary fittings as & hardware per design and details. |  | 1950 x 3000mm ht.(HT MAY VARY AS PER SITE BEAM BOTTOM) | NO. | 1 | 240435 | 240435
18 | Arched shaped MS Portal 3 (dining area between columns & wall) | Arched shaped MS Portal 3 (dining area between columns & wall) 2100 mm ht - Providing, making and fixing of Arch shaped MS Portal made with 50 x 50mm MS frame between wall and column & 50 x 50 mm horizontal MS frame members joined at equal distances to support the arch potal as per drawing finished in app.powder coating with all necessary fittings as & hardware per design and details. |  | 2100mm ht. | R.FT. | 150 | 2938 | 440700
19 | Low height Ledge | Low Height Ledge (930x450x750 mm) - Providing and fixing wooden Low height ledge unit finished with dark walnut polish having with openable shutters & 100 mm high skiritng from outside & all visible areas. The shutters to be made of 20 mm thk. in dark walnut polish from outside & laminate from inside . The unit to have 20 mm thick ply shelf finished with laminate internally.Including all necessary required wooden framing, approved make adhesive and fasteners, Lock, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | 930mm L X 450mm W X 750 H | NOS. | 3 | 30379 | 91137
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
20 | Low height boxing | Low Height Boxing (930x450x750 mm) - Providing and fixing wooden Low height boxing with 12mm ply finished with dark walnut polish with 100 mm high skiritng from outside & all visible areas.Including all necessary required wooden framing, approved make adhesive and fasteners, Lock, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | 930mm L X 450mm W X 750 H | SQ.FT. | 45 | 4335 | 195075
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
21 | Double calcium board wall Panelling - wallpaper & fluted panel with PU paint | Providing, making and fixing of wall paneling made of 12mm thk branded calcium board paneling on wall including 25 x 40mm Aluminium framework from slab to height upto 2800 mm (to be checked on site) framework. Panel to be finished with 12mm thk. MDF fluted panel with app. PU paint & above 50mm high wooden moulding finished in dark walnut polish upto 1050mm ht. & above to be finished with app. wallpaper with all adhesive and 50mm high wooden moulding finished in dark walnut polish & indirect led strip light from top as per design, Approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | [6 empty] | Aluminium Framinng with 12mm calcium silicate partiton not considered but to be paid seperately on item no.8
Basic Rate of MDF Fluted Panel @ 250 Rs per SFT
|  | Wallpaper as per approval |  |  | SQ.FT. | 1000 | 401 | 401000 | Basic Cost - Rs.250/Sft
|  | 12 mm thk. MDF fluted panel with PU paint |  |  | SQ.FT. | 800 | 692 | 553600
|  | 50mm high wooden moulding finished in dark walnut polish |  |  | R.FT. | 500 | 251 | 125500
|  | Led strip light |  |  | R.FT. | 250 | 135 | 33750
22 | Antique bronze mirror & cane Panelling - Wall Panelling above long banquet | Providing, making and fixing of wall paneling made of 12mm thk approved make branded Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand finished with 6mm thk. Antique Bronze Mirror with all adhesive & in between bamboo Cane framed with 20 x 20 mm wooden frame in dark walnut polish with 10 mm wooden beading patti from all sides from 1050mm to height upto 2800 mm (to be checked on site) panelling .Approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete.
Plywood - branded fire rated Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand
|  | 6 mm thk. Antique Bronze mirror |  |  | SQ.FT. | 175 | 1607 | 281225
|  | Cane with 20 x 20 mm wooden frame |  |  | SQ.FT. | 75 | 997 | 74775
23 | Wooden Wall panelling - Behind the Bar | Providing, making and fixing of wall paneling made of 12mm thk branded calcium board paneling on wall including 25 x 40mm Aluminium framework from slab to height upto 3200 mm (to be checked on site) framework. Wall Panel to be finished with 12mm thk. approved make branded fire rated Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand finished with veneer in dark walnut polish & 20 x 20mm wooden moulding finished in dark walnut polish to be framed horizontally & vertically as per design. Approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete.
Plywood - branded fire rated Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand
Basic Rate of Veneer @ 140 Rs per SFT
|  | Veneer with 20 x 20mm wooden moulding |  |  | SQ.FT. | 225 | 1228 | 276300
24 | Wallpaper & Texture Paint Wall panelling - Foyer | Providing, making and fixing of wall paneling made of 12mm thk branded calcium board paneling on wall including 25 x 40mm Aluminium framework from slab to height upto 3200 mm (to be checked on site) framework. Wall Panel to be finished with texture paint & app. wall paper with all adhesive & 25 mm thk MDF moulding finished in app. pu paint around the wallpaper as per design. Approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | [6 empty] | Aluminium Framinng with 12mm calcium silicate partiton not considered but to be paid seperately on item no.8
|  | Wallpaper as per approval |  |  | SQ.FT. | 50 | 401 | 20050 | Basic Cost - Rs.250/Sft
|  | 25 mm wide MDF moulding |  |  | R.FT. | 25 | 229 | 5725
25 | Hostess Desk | Hostess Desk - (1000x600x1050 mm) - Providing and fixing Hostess desk made out of approved make branded fire rated ply -- Greenply or Equivalent brand and finished with 100 mm high wooden skirting with moulding & 150 mm high wooden band on top with moulding & grooves finished in dark walnut polish as per design. Apron finished wih app. wallpaper with all necesarry adhesive. Desk to have 2 drawers of ht 155mm, finished with veneer in dark walnut polish from outside & maching laminate inside with inbuilt recessed handles in wood and polish. Approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | 1000mm L X 600mm W X 1050 HT. | NO. | 1 | 45264 | 45264
Basic cost of Veneer : 140/- SFT
26 | Banquet Seating with cane 1 | Banquet Seating with Cane (1840x1560x1050 mm) - Providing, making and fixing Banquet seating made out of wooden frame work and cladded with 12mm thk approved make branded BWR Grade Ply (Calibrated, IS 303) -- Greenply or Equivalent brand & finished with approved fabric with required wooden frame and top of back to have a cane paneling with required wooden frame with incline backrest & the bottom to have 100 mm high wooden legs finished in dark walnut polish as per design. Finishing/cleaning/cutting/required fixture & fasteners etc. as per design & drawing & as directed by Project Manager etc. complete. Sofa will have high density rubber foam.(Foam used should be approved and to be certified against poisonous and noxious fumes.) Rate includes upholstery of fabrics. |  | 1840mm L x 1560mm W x 1050mm HT. | NO. | 1 | 142640.6714 | 142640.6714
Fabric Basic cost @ 800 per MTR
27 | Banquet Seating with cane 2 | Banquet Seating with cane 2 (3410x1560x1050) - Providing, making and fixing Banquet seating made out of wooden frame work and cladded with 12mm thk approved make branded BWR Grade Ply (Calibrated, IS 303) -- Greenply or Equivalent brand & finished with approved fabric with required wooden frame and top of back to have a cane paneling with required wooden frame with incline backrest & the bottom to have 100 mm high wooden legs finished in dark walnut polish as per design. Finishing/cleaning/cutting/required fixture & fasteners etc. as per design & drawing & as directed by Project Manager etc. complete. Sofa will have high density rubber foam.(Foam used should be approved and to be certified against poisonous and noxious fumes.) Rate includes upholstery of fabrics. |  | 3410mm L x 1560mm W x 1050mm HT. | NO. | 1 | 264350.3746 | 264350.3746
Fabric Basic cost @ 800 per MTR
28 | Booth Seating 1 | Booth Seating 1 (3670x1400x1050 mm) - Providing, making and Fixing of Booth Seating, having 3670mm width X 450MM seat height and 1050mm back ht. with 19mm thick plywood (selected & approved make, bwr grade) boxing for seating, having 100mm to 200mm thk. slanted back partition of 1050mm ht with 19mm thick plywood framing & 12 mm thick plywood backing on the framing finished with seating with 50-75mm thick upholstery work (selected & approved density foam, father make) finished with selected & approved make fabrics, slanted back partition & seat to be cushioned & all the visible parts of the booth seating to be finished with fabric having 100mm high wooden legs. Rate including all necessary hardware fittings. Complete as per architectural detail drawing. |  | 3670mm L x 1400mm W x 1050mm HT. | NO. | 1 | 284506.1217 | 284506.1217
Fabric Basic cost @ 800 per MTR
29 | Booth Seating 2 | Booth Seating 2 (4600x1400x1050 mm) - Providing, making and Fixing of Booth Seating, having 4600mm width X 450MM seat height and 1050mm back ht. with 19mm thick plywood (selected & approved make, bwr grade) boxing for seating, having 100mm to 200mm thk. slanted back partition of 1050mm ht with 19mm thick plywood framing & 12 mm thick plywood backing on the framing finished with seating with 50-75mm thick upholstery work (selected & approved density foam, father make) finished with selected & approved make fabrics, slanted back partition & seat to be cushioned & all the visible parts of the booth seating to be finished with fabric having 100mm high wooden legs. Rate including all necessary hardware fittings. Complete as per architectural detail drawing. |  | 4600mm L x 1400mm W x 1050mm HT. | NO. | 1 | 356601.6784 | 356601.6784
Fabric Basic cost @ 800 per MTR
30 | Long Banquet Seating | Long Banquet Seating (11500x1400x1050 mm) - Providing, making and fixing Banquet seating made out of wooden frame work and cladded with 12mm thk approved make branded BWR Grade Ply (Calibrated, IS 303) -- Greenply or Equivalent brand & finished with approved fabric with required wooden frame and top of back to have 100 mm high wooden railing in dark walnut polish as per design with incline backrest & the bottom to have 100 mm high wooden legs finished in dark walnut polish as per design. Finishing/cleaning/cutting/required fixture & fasteners etc. as per design & drawing & as directed by Project Manager etc. complete. Sofa will have high density rubber foam.(Foam used should be approved and to be certified against poisonous and noxious fumes.) Rate includes upholstery of fabrics. The entire banquet seating to be divided in 6 equal parts. |  | 11500mm L x 1400mm W x 1050mm HT. Each Part : 1915mm L x 1400mm W x 1050mm HT. | NO. | 1 | 891504.196 | 891504.196
Fabric Basic cost @ 800 per MTR
31 | Bar Counter | Bar Counter (3650 mm Length) - P/F 50mm thk. Bar counter made out of 19mm thk approved make branded fire rated ply-- Greenply or Equivalent brand & finished in leather finished black granite with app. moulding detail. Apron to be cladded with app. leatherette & 20mm dia anqtiuq brass railing as per design all round the bar & 20mm dia antique brass railing in to be fixed with bamboo cane as per detail and platform in leather finished black granite based on ply with necessary ms barcket. Erecting brick wall for plumbing & 150 mm high wooden skirting with moulding as per design finished in dark walnut polish from outside. The top platform to have 50mm wide granite moulding fascia as per detail. |  | 3650 length
Plywood - branded fire rated Ply-- Greenply or Equivalent brand
Granite Basic Rate 250/- per SQ.FT.
| a | Top service Counter Ply Base with Neccesary Support to receive the granite 200mm wide |  | 200mm Width | R.FT. | 30 | 12324 | 369720
| b | Front Elevation (apron) to be to be made out of 12mm thk approved make branded fire rated Ply) -- Greenply or Equivalent brand with ply and cladded with app. leatherette & 20mm dia anqtiuq brass railing as per design all round the bar & 20mm dia antique brass railing in to be fixed with bamboo cane as per detail and platform in leather finished black granite based on ply with necessary ms barcket and 150 mm high wooden skirting with moulding as per design finished in dark walnut polish from outside.Provision for indirect lighting to be made under the counter. |  |  | SQ.FT. | 85 | 3075 | 261375
| c | 50mm thk Top service platform in Granite 450 mm width |  | 450mm Width | R.FT. | 30 | 3349 | 100470
| d | 38mm Dia Foot rest real brass antique finish at the bottom. |  |  | R.FT. | 30 | 3200 | 96000
| e | 750mm Flap door for bar area entry finished same as counter appron (750x1100 mm) |  | 750 x 1100mm | NOS. | 1 | 27306 | 27306
| f | 150 mm high wooden skirting with moulding |  |  | R.FT. | 30 | 645 | 19350
| g | Plywood - branded fire rated Ply-- Greenply or Equivalent brand
32 | Bar Display unit | Bar Display Unit (2400x1400 mm) - P/F 300 mm deep bar Display unit having 50 mm thk.wooden frame in dark walnut polish on all 3 sides with 25 mm thk. shelf finished with veneer in dark walnut polish as per design and 25 mm thk vertical wooden ply support equally placed as per design finished with veneer in dark walnut polish. Back to be finished with 6 mmm thk. antique white mirror with necessary adhesive & provision for led profile light. |  | 2400 x 1400mm | SQ.FT. | 45 | 4569 | 205605
| a | Antique White Mirror (2400x1400 mm) |  | 2400 x 1400mm | SQ.FT. | 45 | 647 | 29115 | On;y Panelling Considered
33 | Bar Back counter | Bar Back counter (3650x600 mm) - P&F of back counter of 600mm wide leather finished black granite top working back counter, with 18mm thick fire rated plywood verticals finished with laminate , counter having 4 nos. of open able shutters (may change as per design) on front side of the unit. Counter top to be finished with 19mm thickleather finished black granite with 38mm dual nose finished. Shutters & all the visible part to be finished with Laminate, counter's internal part to be finished with light walnut laminate (selected make, basic cost INR. 1200.00/ sheet). Rate inclusive of all necessary hardware fittings - like hinges, draw telescopic channels, cup board lock, decorative antique bolt handle, wire managers, etc. (approved & branded make) & necessary cut out for services requirements. Counter having 100 mm high kota skirting .Complete as per architectural detail drawing & site engineer's instruction. |  | 3650 x 600mm | R.FT. | 15 | 10530 | 157950
34 | Bar Bulkhead | Bar Bulkhead (3650x450 mm) - P&F of 450mm wide Bar Bulkhead having 50 X 50 mm box section in antique brass finish at the bottom & ribbed FRP panel in curve shape as per design in app. metallic paint in 2 layers placed vertically having provision for led light & 25 mm dia.antique brass finish band in curve shape with 25 mm dia antique brass finish band vertically for support to hang from the 50mm thk box section at base as per design .Rate including all necessary hardware fittings to install the shelves, anchor fastner, ceiling support, scaffolding, etc. as required on site. Complete as per architectural detail drawing & site engineer's instruction. |  | 3650x 450mm | R.FT. | 30 | 3500 | 105000
35 | Glass Partition - Façade | Glass Partition Facade P&F 12 mm thk. toughened glass partition with 20 x 40mm wooden framework on all 4 sides & bottom with 20mm thk. & 150 mm wide wooden frame to be fixed on the facade wall with dark walnut polish and all necessary required groove, wooden framing, with approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. Bottom to be finished with glazed handmade subway tiles as mentioned in Civil BOQ & 100 mm high leather finished black granite skirting. |  |  | SQ.FT. | 200 | 1645 | 329000 | 300
36 | Signage bulkhead Façade | Signage bulkhead Façade - Providing, making and fixing of bulkhead 600mm box paneling made12mm thk approved make branded fire rated Ply) -- Greenply or Equivalent brand with ply panelling on wall including MS framework from slab. Framework to be finished with zink oxide and enamel finish. The boxing to be finished with 3 mm thk. black granite finish laminate as per detail drawing. having required holes to fix the signage letter. cost inlcudes all necessary required framing, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  |  | SQ.FT. | 70 | 1445 | 101150
37 | Glass partition on live kitchen | Glass partition on live kitchen - P/F 12 mm thk. 2 hours fire rated glass partition from 300 mm upto 2100 mm ht. with 25 x 50mm MS framework with black powder coating as per design and all necessary required groove, wooden framing, with approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  |  | SQ.FT. | 125 | 8125 | 1015625
|  | TOTAL CARPENTARY WORKS (DINING AREA) | [5 empty] | 9949240.0421
CARPENTRY WORK (WASHROOMS)
1 | Basin - storage unit below 1 (Female) | Basin - storage unit below 1 (Female) (1135x300x750 mm) - Providing and fixing storage below counter in wood with dark walnut finish from outer surface. The storage under the Counter should be provided with 6" ht. drawers at top row with drawer apron finished in dark walnut polish. Openable Shutters finished with 25mm wooden frame finished with dark walnut polish fixed with cane & wooden beading patti on all 4 sides of each shutter & all the visible areas to be finished with dark walnut polish.The unit to have 100 mm high wooden legs & shelf to be finished internally with laminate. The shutters to be provided with fittings such as hinges, handles, ball catch, locks etc. complete in all respect. The rates for the Shutters to be included. as per design and details. |  | 1135mm L X 300mm W X 750mm H | NOS. | 1 | 27120 | 27120
Plywood - branded fire rated -- Greenply or Equivalent brand
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
2 | Basin - storage unit below 2 (Female) | Basin - storage unit below 2 (Female) (1050x300x750 mm) - Providing and fixing storage below counter in wood with dark walnut finish from outer surface. The storage under the Counter should be provided with 6" ht. drawers at top row with drawer apron finished in dark walnut polish. Openable Shutters finished with 25mm wooden frame finished with dark walnut polish fixed with cane & wooden beading patti on all 4 sides of each shutter & all the visible areas to be finished with dark walnut polish.The unit to have 100 mm high wooden legs & shelf to be finished internally with laminate. The shutters to be provided with fittings such as hinges, handles, ball catch, locks etc. complete in all respect. The rates for the Shutters to be included. as per design and details. |  | 1050mm L X 300mm W X 750mm H | NOS. | 1 | 25200 | 25200
Plywood - branded fire rated -- Greenply or Equivalent brand
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
3 | Basin - storage unit below 3 (Male) | Basin - storage unit below 3 (Male) (875x550x750 mm) - Providing and fixing storage below counter in wood with dark walnut finish from outer surface. The storage under the Counter should be provided with 6" ht. drawers at top row with drawer apron finished in dark walnut polish. Openable Shutters finished with 25mm wooden frame finished with dark walnut polish fixed with cane & wooden beading patti on all 4 sides of each shutter & all the visible areas to be finished with dark walnut polish.The unit to have 100 mm high wooden legs & shelf to be finished internally with laminate. The shutters to be provided with fittings such as hinges, handles, ball catch, locks etc. complete in all respect. The rates for the Shutters to be included. as per design and details. |  | 875mm L X 550mm W X 750mm H | NOS. | 1 | 21000 | 21000
Plywood - branded fire rated -- Greenply or Equivalent brand
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
4 | Basin - storage unit below 4 (Staff) | Providing and fixing storage below counter in wood with dark walnut finish from outer surface. The storage under the Counter should be provided with 6" ht. drawers at top row with drawer apron finished in dark walnut polish. Openable Shutters finished with 25mm wooden frame finished with dark walnut polish fixed with cane & wooden beading patti on all 4 sides of each shutter & all the visible areas to be finished with dark walnut polish.The unit to have 100 mm high wooden legs & shelf to be finished internally with laminate. The shutters to be provided with fittings such as hinges, handles, ball catch, locks etc. complete in all respect. The rates for the Shutters to be included. as per design and details. |  | 810mm L X 500mm W X 750mm H | NOS. | 1 | 19440 | 19440
Plywood - branded fire rated -- Greenply or Equivalent brand
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
5 | Mirror panelling - 1 (Female) | Providing, making and fixing of 20 x 20mm Aluminium Wall panelling made of 12mm thk branded Commercial Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand with 6 mm clear mirror glass finished with all necessary required framing as per design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | 1200mm L x 1200mm H | SQ.FT. | 17 | 831 | 14127
6 | Mirror panelling - 2 (Female) | Providing, making and fixing of 20 x 20mm Aluminium Wall panelling made of 12mm thk branded Commercial Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand with 6 mm clear mirror glass finished with all necessary required framing as per design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | 1350mm L x 1200mm H | SQ.FT. | 20 | 831 | 16620
7 | Mirror panelling - 3 (Female) | Providing, making and fixing of 20 x 20mm Aluminium Wall panelling made of 12mm thk branded Commercial Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand with 6 mm clear mirror glass finished with all necessary required framing as per design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | 850mm L x 2100mm H | SQ.FT. | 22 | 831 | 18282
8 | Mirror panelling - 4 (Male) | Providing, making and fixing of 20 x 20mm Aluminium Wall panelling made of 12mm thk branded Commercial Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand with 6 mm clear mirror glass finished with all necessary required framing as per design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | 875mm L x 1200mm H | SQ.FT. | 12 | 831 | 9972
9 | Mirror panelling - 5 (Staff) | Providing, making and fixing of 20 x 20mm Aluminium Wall panelling made of 12mm thk branded Commercial Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand with 6 mm clear mirror glass finished with all necessary required framing as per design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | 810mm L x 2100mm H | SQ.FT. | 12 | 831 | 9972
10 | Wash Basin Counter - 1 (Female) | Providing & fixing basin counter made out of 40mm thk baroda green marble to be fixed inside the wall with molded edges as per design. The cost to include of making hole in the counter for fixing wash basin & tap. |  |  | SQ.FT. | 4 | 3246 | 12984
(Basic Cost of marble 450/- sq.ft).
11 | Wash Basin Counter - 2 (Female) | Providing & fixing basin counter made out of 40mm thk baroda green marble to be fixed inside the wall with molded edges as per design. The cost to include of making hole in the counter for fixing wash basin & tap. |  |  | SQ.FT. | 5 | 3246 | 16230
(Basic Cost of marble 450/- sq.ft).
12 | Wash Basin Counter - 3(Male) | Providing & fixing basin counter made out of 40mm thk baroda green marble to be fixed inside the wall with molded edges as per design. The cost to include of making hole in the counter for fixing wash basin & tap. |  |  | SQ.FT. | 6 | 3246 | 19476
(Basic Cost of marble 450/- sq.ft).
13 | Marble vertical partition (Male) | Providing & fixing Vertical partition made out of 40mm thk baroda green marble to be fixed inside the wall & flooring with molded edges as per design. |  |  | SQ.FT. | 8 | 3246 | 25968
(Basic Cost of marble 450/- sq.ft).
14 | Wash Basin Counter - 4(Staff) | Providing & fixing basin counter made out of 40mm thk baroda green marble to be fixed inside the wall with molded edges as per design. The cost to include of making hole in the counter for fixing wash basin & tap. |  |  | SQ.FT. | 6 | 3246 | 19476
(Basic Cost of marble 450/- sq.ft).
15 | Marble Moulding | Providing & fixing 50 mm high baroda green marble moulding to be fixed above dado tile with molded edges as per design. |  |  | R.FT. | 90 | 199 | 17910
(Basic Cost of marble 450/- sq.ft).
16 | Janitor cabinet | Providing and fixing Janitor cabinet with shutters of 25mm thk. fire rated plywood with veneer finished in dark walnut polish as per design & shutters to have provision for wooden louvers. Including all necessary required wooden framing, approved make adhesive and fasteners, Lock, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. 100 mm high platform to be made for in civil. |  | 800x 300 x 2400 mm (H) | NO. | 1 | 153600 | 153600
Veneer Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 140 Sq. ft.)
Laminate Make - Euro/Greenlam/Merino/ or equivalent (Basic Rate- 40 Sq. ft.)
17 | Wallpaper - above dado Tiles in washroom | Providing, fixing & application of wallpaper with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. |  |  | SQ.FT. | 400 | 738 | 295200
|  | TOTAL CARPENTARY WORKS (WASHROOMS) | [5 empty] | 722577

## MISCELLANEOUS
BOQ of Interior work for Copper Chimney Project, Linking Road, Bandra | [6 empty] | 18/5/2024 |  | R0
SR.NO. | ITEM | DESCRIPTION | DRAWING NO | DIMENSION | UNIT | QTY. | RATE | AMOUNT | REMARK
MISCELLANEOUS
1 | Facade Roller Blind | Providing and fixing of manual PVC rollor blind high quality fabric thikness 0.5-1mm to be fixed of existing window. Including all hardware fitting as per instruction. Any type of support, reparing of frame work material and hardware fitting to be included. make - Vista blind/ equivalent. |  |  | SQ.FT. | 250 | 194 | 48500
2 | Story Wall Images | High Resolution Digital printing on HP Canvas To be Framed with 15 mm wide black frame around all 4 sides & clear glass over it as per design with proper framing & backing.
|  | Size : 485 x 600mm |  | 485 x 600mm | NOS. | 10 | 5500 | 55000
|  | Size : 485 x 600mm |  | 485 x 600mm | NOS. | 18 | 5500 | 99000
3 | Artifact | P & F of decorative artifacts (approx cost - 250000) |  |  | L.S. | 1 | 337500 | 337500
4 | Natural Plants | Erica palms Big natural plants as per selection with including soil, Pots, shifting of pots & soil, installation. |  |  | Approx. | 15 | 6500 | 97500
|  | TOTAL MISCELLANEOUS | [5 empty] | 637500