## GROUND FLOOR
UNA FOOD COURT
DRAINAGE & WATER SUPPLY WORK BOQ
COMMON AREA (INTERNAL & EXTERNAL )
S.N. | Description | Unit | Qty. | RATE | AMOUNT
Subhead I - Sanitary Fixtures
1 | Providing & Fixing of white vitreous China wall hung Double syphonic type European water closet with C.P. bolts, nuts, Special soft close toilet seat & cover with C.P.wall hinges & rubber buffers. Make & Model : KOHLER | Each | 0 |  | 0
2 | Providing & Fixing, testing and commissioning of concealed cistern 10 Liters with Cover Plate 40mm Size with all accessories. including cuttings & making good the walls. floors slab wherever required. Make & Model :KOHLER | Each | 0 |  | 0
3 | Providing & Fixing of 15 mm dia C.P. Ablution health faucet with 1.0 m long flexible tube with wall hook and operating knob complete in all respects. Make & Model : KOHLER | Each | 0 |  | 0
4 | Providing Fixing of C.P. brass toilet paper holder with mounted rod with C.P. brass screws. Make & Model : KOHLER | Each | 0 |  | 0
5 | Providing & Fixing of two way C.P. brass bib cock with C.P brass wall flange. Make & Model: KOHLER | Each | 0 |  | 0
6 | Providing & Fixing of C.P. brass bib cock with C.P brass wall flange. Make & Model: KOHLER | Each | 0 |  | 0
7 | Providing & Fixing of C.P. brass Long body bib cock with C.P brass wall flange. Make & Model: KOHLER | Each | 5 | 4000 | 20000
8 | Providing Fixing of electricaly operated automatic flushing systems with urinal 320 x 300 x 525 mm to ensure flushing only when in use, comprising of all plumbing, electronic and electrical items. C.P. brass flush pipe with clamps and screws, C.P. brass elbow,control valves, completely conceled in wall, including cutting and making good the walls and floors where required. Make & Model: KOHLER | Each | 0 |  | 0
9 | Providing & Fixing of C.P. brass Angle Valve (dia 15mm) with C.P wall flange etc. complete as required. Make & Model : Make & Model: KOHLER | Each | 5 | 1250 | 6250
10 | Providing & Fixing in position of white vitreous china Counter Wash basin (size 520 x 450 x 200 mm ) with C.I. brackets painted white.KOHLER | Each | 2 | 7500 | 15000
10.1 | 32 mm dia C.P. brass waste coupling | Each | 4 | 350 | 1400
10.2 | 32 mm dia of P- Trap / Bottle trap(Made Of Plastic) (Make-as per selection) (Connection x Outlet = (1 1/4" x 32 mm)Body Made of PP (Poly Propylene) . including cutting and making good the walls and floors where required. | Each | 4 | 3200 | 12800
11 | Providing & Fixing of C.P. brass single lever basin mixer without popup waste complete as required. Make & Model : KOHLER | Each | 0 |  | 0
12 | Providing & Fixing of 15mm C.P. brass pillar tap without popup waste complete as required. Make & Model :KOHLER | Each | 4 | 8500 | 34000
13 | Providing and fixing beveled edge mirror of superior glass (of approved quality) (size 900x600mm) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Each | 2 | 6500 | 13000
14 | Providing and fixing concealed Stop Cock Brass 400 gm. 15mm nominal bore. superior quality & of approved make:KOHLER | Each | 0 |  | 0
15 | Providing and Fixing of S.S. sink without drain board over all size 600x450x200mm Single bowl size:- 500x400x200mm with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1/2" X 40mm) with extension piece wall flange & rubbre adopters complete as required.(Make: Nirali or Equivalent | Each | 0 |  | 0
16 | Providing and Fixing C.P. brass wall mounted/ table top sink mixer with swinging spout, wall mounted type complete as required. Make & Model : KOHLER | Each | 0 |  | 0
17 | Providing Fixing of 15 mm dia Pvc connector SS Wired 450mm long with connecting nuts [for connection to Mixers & taps from angle valve. Make & Model : KOHLER | Each | 5 | 650 | 3250
18 | Providing & Fixing of C.P. brass twin coat hooks fixed on toilet door with C.P. brass screws. Make & Model : KOHLER | Each | 0 |  | 0
19 | Providing & Fixing of recessed type S.S. soap dish including cutting and making good the walls (Wall Mounted). Make & Model : KOHLER | Each | 2 | 750 | 1500
20 | Providing & Fixing of C.P. brass towel ring (Round) with C.P. brass wall brackets & CP brass screws complete as required. Make & Model : KOHLER | Each | 2 | 2100 | 4200
21 | Supply, installation,testing & commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG/cm2 pressure, Wall Mounted / Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories. 15Liters Capacity. | Each | 0 |  | 0
Subhead II - Internal Drainage (Rainwater, Soil, Waste & vent Pipes & Fittings)
1 | Providing and fixing Upvc SWR pipes ( Class B Heavy Type) including all fittings (plain or door) e.g. bends, junction, cowls, offsets, access pieces, jointing with rubber ring/solvent cement joints,jali,clamps including cutting chase or holes in walls and floors and making good where required.( Inside the building)
a) | 50 mm dia | Mtr. | 4 | 335 | 1340
b) | 75 mm dia | Mtr. | 3 | 405 | 1215
c) | 110 mm dia | Mtr. | 8 | 460 | 3680
2 | Providing and fixing Upvc SWR pipes Class B Heavy Type) including all fittings (plain or door) e.g. bends, junction, cowls, offsets, access pieces, jointing with rubber ring/solvent cement joints,jali,clamps including cutting chase or holes in walls and floors and making good where required.(in vertical stacks inside the building) Make:
c) | 110 mm dia | Mtr. | 0 |  | 0
3 | Providing & fixing in position pipe trap of self cleaning design of following sizes for the embedded areas. Making proper connection with , cutting chase / hole in floors /slabs and bringing the same in proper condition in cement concrete 1:2:4 mix complete as required. including cost of cutting and making good the walls and floors where required. Make :
» | P-trap 75 mm dia | Each | 0 |  | 0
» | Multi trap 110 mm dia with square grating (Outlet 75MM dia) | Each | 0 |  | 0
» | Floor trap 110 mm dia with grating(Outlet 75MM dia) | Each | 0 |  | 0
» | Nahani trap 110 mm dia with grating(Outlet 75MM dia) | Each | 5 | 1250 | 6250
4 | Making Tarrace Rain Colletion khurras (slope) Near Rain Water stack 230x230 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate of 20 mm nominal size). | Each | 0 |  | 0
Subhead III - Internal/External Water Supply
1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes SDR 11, having thermal stability for hot & cold , flushing water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. (Internal work Exposed on wall/ Terrace/Ceiling)
1.1 | 20 mm dia | RMT | 0 |  | 0
1.2 | 25 mm dia | RMT | 5 | 290 | 1450
1.3 | 32 mm dia | RMT | 19 | 330 | 6270
1.4 | 40 mm dia | RMT | 20 | 420 | 8400
1.5 | 50 mm dia | RMT | 0 |  | 0
1.6 | 65 mm dia | RMT | 0 |  | 0
2 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes SDR 11, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. (Concealed work including cutting chases and making good the walls etc.,)
2.1 | 20 mm dia | RMT | 10 | 260 | 2600
2.2 | 25 mm dia | RMT | 4 | 300 | 1200
2.3 | 32 mm dia | RMT | 0 |  | 0
3 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings, this included jointing of pipes & fittings with one step CPVC solvent cement , trenching refilling & testing of joints complete as per direction of Engineer in Charge. (External burried Pipe work).
3.1 | 25 mm dia | RMT | 10 | 260 | 2600
3.2 | 32 mm dia | RMT | 5 | 300 | 1500
3.3 | 40 mm dia | RMT | 80 | 430 | 34400
3.4 | 50 mm dia | RMT | 5 | 500 | 2500
3.5 | 65 mm dia | RMT | 0
3 | Providing & fixing gun metal lever operated ball valve. Tested to a pressure of 15 Kg / Sqcm. Including flanges/union, nuts, bolts, washer etc. Complete as required.
3.1 | 25 mm dia | Nos. | 14 | 1375 | 19250
3.2 | 32 mm dia | Nos. | 0 |  | 0
3.3 | 40 mm dia | Nos. | 1 | 2845 | 2845
3.4 | 50 mm dia | Nos. | 0 |  | 0
3.5 | 65 mm dia | Nos. | 0 |  | 0
4 | Providing & fixing nitryl rubber insulation on internal hot water pipes size 16mm dia. to 50 mm dia(inner). All insulated pipe shall be painted of three coat with brush of STARBOND 30-36 SUPER water based UV barrier to protect the insulation material from any damage.
a) | 20/25 mm dia (9mm thick insulation) | RM | 0 |  | 0
5 | Providing & fixing closed cell nitryl rubber insulation on all water supply/return pipes exposed to sunlight (Make-Armaflex/K-flex/Superlon). All piping shall be provided with three coat of Protective coating of PARACOAT – BPC in conjunction with woven glass fiber cloth as per specifications. Make-Paramount polytreat. (Note : After covering of insulation, primairly one coat of PARACOAT – BPC to be done, then covered with woven glass fiber cloth with one more coat of PARACOAT – BPC and lastly after drying of second coat, the final coat of PARACOAT – BPC shall be done to making the good and strengthened)
| 20 mm dia (9mm thick insulation) | RM | 0 |  | 0
| 25 mm dia (9mm thick insulation) | RM | 0 |  | 0
| 32 mm dia (9mm thick insulation) | RM | 0 |  | 0
| 40 mm dia (9mm thick insulation) | RM | 0 |  | 0
6 | Providing and fixing brass automatic air vent valve for purging of water supply lines of suitable pressure including flanges/union, nuts, bolts, washer etc. Complete as required. Make : Unik/ SKS/ NVR. | EACH | 0 |  | 0
7 | Providing and fixing in position of approved quality Water level control valve with automatic On/OFF system of valve suitable for pressure of 10 Kg/sqcm of the following sizes: Make : | EACH | 0 |  | 0
8 | Providing, fixing, testing and commissioning of Butterfly Valve with forged brass body, brass diaphram and SS seal in water supply pipes. Complete as required. Make : Unik/ SKS/ NVR.
| 65mm dia | EACH | 0 |  | 0
9 | Providing, fixing, testing and commissioning of NRV with forged brass body, brass diaphram and SS seal in water supply pipes. Complete as required. Make : Unik/ SKS/ NVR.
| 25 mm dia | EACH | 7 | 1200 | 8400
| 32 mm dia | EACH | 0 |  | 0
| 50 mm dia | EACH | 0 |  | 0
10 | Providing and fixing of brass multijet water meters with magnetic transmision of IS-779:1994 including with rubber gasket, flanges/ unions, nuts, bolts, washers, etc. complete as required. Make : Kranti
| 25 mm dia | EACH | 7 | 6500 | 45500
11 | Providing, fixing, testing and commissioning of Y STRAINER FLANGED END EPOXY COATED WITH SS SCREEN (CR16B)
| 25mm Dia | EACH | 7 | 750 | 5250
External Drainage & Storm Water
1 | Fixing, jointing and testing in position the following UPVC pipes( 6Kg/sq cm) conforming to IS: 4985 for drainage cut to required lengths including all necessary fittings and specials such as bends, junctions, offsets, making proper connections. Including providing PCC . Pipe to be laid below ground level in trenches upto required depth including excavation in all kind of soil, dewatering, refilling, watering, ramming & removing the surplus excavated material and making good the same complete as required.Cost shall include making connection with municipal sewer manhole including all associated civil & cost of all liasion works for getting approval. Make: Supreme
» | 110 mm dia | Mtr. | 10 | 650 | 6500
» | 160 mm dia | Mtr. | 57 | 725 | 41325
» | 200 mm dia | Mtr. | 0 |  | 0
2 | Fixing of square mouth S.W. gully trap grade 'A' complete with C.I. grating brick masonry chamber with bricks of class designation 75 and water & gas tight heavy C.I. cover with frame of 260x260 mm size clear opening, frame of size 390x390 mm with weight of frame to be not less than 10 kg and cover of size 300x300 mm/450x450 mm with weight of cover to be not less than 9 kg. as per standard design.
» | 180x150 mm size P type with F.P.S. bricks of class designation 75. | Each | 5 | 5500 | 27500
3 | Constructing brick masonry Sewer manhole with 75 class designation bricks in cement mortar 1:4(1 cement : 4 fine sand) RCC top slab with 1:2:4 mix ( 1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) foundation concrete 1:4:8 mix (1 cement: 4 coarse sand: 8 graded stone aggregate 40 mm nominal size) inside and outside plastering 12 mm thick with cement mortar 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement and making channels in cement concrete 1:2:4 mix (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design. [All earthwork and PVC coated CI foot-rests included]
» | Inside size 45x45 cms and 55 cms deep including SFRC/Heavy C.I. cover with frame (Heavy duty). | Each | 4 | 15600 | 62400
» | Inside size 60x60 cms and 60 cms deep including SFRC/Heavy C.I. cover with frame (Heavy duty). | Each | 1 | 17000 | 17000
» | Inside size 75x60 cms and 75 cms deep including SFRC/Heavy C.I. cover with frame (Heavy duty). | Each | 0 |  | 0
4 | Constructing brick masonry Rain Water Catch Basin/ Chambers with 75 class designation bricks in cement mortar 1:4(1 cement : 4 fine sand) RCC top slab with 1:2:4 mix ( 1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) foundation concrete 1:4:8 mix (1 cement: 4 coarse sand: 8 graded stone aggregate 40 mm nominal size) inside and outside plastering 12 mm thick with cement mortar 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement and making channels in cement concrete 1:2:4 mix (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design. [All earthwork and PVC coated CI foot-rests included]
» | Inside size 30x30 cms and 45 cms deep including MS Grating Covers (Heavy duty). | Each | 0 |  | 0
» | Inside size 45x45 cms and 60 cms deep including MS Grating Covers (Heavy duty). | Each | 0 |  | 0
» | Inside size 60x60 cms and 75 cms deep including MS Grating Covers (Heavy duty). | Each | 0 |  | 0
TOTAL |  |  |  |  | 420775
Terms & Conditions of Labour Contract :
1 | The contractor shall include in his scope the following.
2 | All kind of tools for execution work shall be arrange by the contractor.
3 | All kind of consumable like Cutter blades, Hacksaw blade, Hacksaw Frame etc. shall be arrange by the contractor.
4 | Contractor shall arrange for hydraulic testing tools/smoke testing : at their own as and when required.
5 | A pressure/Hydraulic testing shall be performed for 3.0 times of working pressure and holding for 24 Hrs. This exercise is to be recorded and kept in records duly signed by the site engineer/supervisor.
6 | Contractor shall bear all kind of ESI/PF/Medical liabilities as applicable by goveenment rules
7 | The contractor shall be responsible for any type of misshaping /accident with labour
8 | All safety accessories like (helmet safety belt, safety shoes) shall be provided by Contractor to the labour.
9 | Contractor shall manage all kind of licenses and insurance required for the execution works if required.
10 | Any wastage or scrap of material shall not be out of the property without gate pass and security officer signature/seal.
11 | Any damaged/manufacturing defect of material shall be informed to project manager.
12 | Contractor shall get his material issued from the main store keeper as per his requirement.
13 | Contractor shall take complete responsibility of the issued material any loss or damage to that shall be deducted from his bill.
14 | Labour accommodation shall be arranged by the contractor.
15 | Water & electricity shall be provided by the client to the contractor at the place of work.
16 | Store room for the tools & equipment shall be arranged by the client to the contractor at the place of work.
17 | Scaffolding (PEDA) requirement above 3 Meter height shall be arrange by the client.
18 | Ladder/ Ghodi shall be arrange by the contractor.