## Sheet1
BOQ @ MOD - Lucknow Airport
| Brand | Mad Over Donuts |  |  |  | Date | 2024-02-03
| Type: | Food Court
| Location: | Lucknow Airport
| Area: | 192SqFt
Sub: Interior Works
Dear Sir,
With reference to discussions at site. Please find our offer as follows.
SN | LOCATION | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | TOTAL | REMARKS
| FIRE ALARM SYSTEM | Supply, installation, testing and commissioning of 2 Zone standalone Fire Alarm control Panel, 16X2 Charater LCD Display, provision for zone wise contact and sounder. Panel does not have provision to connect Repeater Panel. Approval: CE Mark. Make - Ravel | Nos | 1 | 32000 | 32000
|  | Supply, installation, testing and commissioning of optical type/photo electric type, Below FC Smoke detector. Make: Ravel - Approval - CE Mark. | Nos | 2 | 3200 | 6400
|  | Supply, installation, testing and commissioning of optical type/photo electric type, Above FC Smoke detector. Make: Ravel - Approval - CE Mark. | Nos | 2 | 3400 | 6800
|  | Supply, installation, testing and commissioning of manual Break Glass unit including with mounting box | Nos | 1 | 2500 | 2500
|  | Supply, installation, testing and commissioning of electronic alarm Hooters. Make: Ravel - Approval - CE Mark | Nos | 1 | 4800 | 4800
|  | Providing all materials, accessories and labour for wiring for detectors, break glass units and hooters to the fire alarm panel as required using 2 runs of 1.5 sqmm FRLS single stranded twisted pair copper conductor. Make - polycab | RM | 20 | 250 | 5000
|  | Installation of Relay module for integration with mall FA panel | Nos | 1 | 9500 | 9500
|  | Supply and installation of fault Response indicator as required | Nos | 2 | 8500 | 17000
|  | Supply, installation, testing and commissioning of sprinkler lines with flexible pipe | Nos | 4 | 25000 | 100000
|  |  | TOTAL AMOUNT |  |  | 184000
[5 empty] | 18% | 33120
|  | TOTAL PROJECT COST |  |  |  | 217120