## Price Bid
SubItemUn | ItemC | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
25648 | a. | S I T C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall as per | Mtrs | 170 | 85 |  | 14450
25649 | b. | Supply Installation of Smoke Detector UL Listed FM Approved Make - Honeywell -Morley | Nos | 2720 | 7 |  | 19040
25650 | c. | Supply Installation of Heat Detector with base UL Listed FM Approved Make - Honeywell -Morley | Nos | 2720 | 5 |  | 13600
25651 | d. | Supply Installation of Manual Breakglass Unit UL Listed FM Approved Make - Honeywell-morley | Nos | 3230 | 2 |  | 6460
25652 | e. | Supply Installation of Hooter UL Listed FM Approved Make - Honeywell -Morley | Nos | 3570 | 2 |  | 7140
25653 | f. | Supply Installation of Response Indicator UL Listed FM Approved Make - Honeywell Seimens. | Nos | 127.5 | 4 |  | 510
25654 | g. | Supply Installation of Addersable Fire Alarm Panel with Auto Dialing Facility UL Listed FM Approved Make - Honeywell-morley | Nos | 69700 | 1 | Auto dialling separate unit | 69700
25655 | h. | Testing and commisioning of complete FAS that is it getting all the required Inputs and giving all the required outputs. Also providing of all certificates form A for the complete work. | Nos | 21250 | 1 |  | 21250
25656 | i. | Supply Installation of Monitor Module UL Listed FM Approved Make - Honeywell -Morley | Nos | 3825 | 6 |  | 22950
25657 | j. | Supply Installation of Control Module UL Listed FM Approved Make - Honeywell-Morley | Nos | 3825 | 4 |  | 15300
[6 empty] | Basic Amt | 190400
[6 empty] | GST@18% | 34272
[6 empty] | Total | 224672
0