## Price Bid
SubItemUn | ItemC | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
25648 | a. | S I T C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall as per | Mtrs | 250 | 85 |  | 21250
25649 | b. | Supply Installation of Smoke Detector UL Listed FM Approved Make - Honeywell -Morley | Nos | 4000 | 7 |  | 28000
25650 | c. | Supply Installation of Heat Detector with base UL Listed FM Approved Make - Honeywell -Morley | Nos | 4000 | 5 |  | 20000
25651 | d. | Supply Installation of Manual Breakglass Unit UL Listed FM Approved Make - Honeywell-morley | Nos | 4750 | 2 |  | 9500
25652 | e. | Supply Installation of Hooter UL Listed FM Approved Make - Honeywell -Morley | Nos | 5250 | 2 |  | 10500
25653 | f. | Supply Installation of Response Indicator UL Listed FM Approved Make - Honeywell Seimens. | Nos | 187.5 | 4 |  | 750
25654 | g. | Supply Installation of Addersable Fire Alarm Panel with Auto Dialing Facility UL Listed FM Approved Make - Honeywell-morley | Nos | 94300 | 1 | Auto dialling separate unit | 94300
25655 | h. | Testing and commisioning of complete FAS that is it getting all the required Inputs and giving all the required outputs. Also providing of all certificates form A for the complete work. | Nos | 31250 | 1 |  | 31250
25656 | i. | Supply Installation of Monitor Module UL Listed FM Approved Make - Honeywell -Morley | Nos | 5625 | 6 |  | 33750
25657 | j. | Supply Installation of Control Module UL Listed FM Approved Make - Honeywell-Morley | Nos | 5625 | 4 |  | 22500
[6 empty] | Basic Amt | 271800
[6 empty] | GST@18% | 48924
[6 empty] | Total | 320724
0