## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
103523 | 1 | Variable Refrigerant Volume System |  | 0.00 | 0.00 |  | 0
103524 |  | Supply of Variable Refrigerant Flow type multi unit air-conditioning system complete with indoor and outdoor units with inverter compressor s, individual controller for cooling Heating type operations. |  | 0.00 | 0.00 |  | 0
103525 | 1.1 | VRF Outdoor Unit |  | 0.00 | 0.00 |  | 0
103526 |  | Supply Instalation of Modular type Outdoor units equipped with highly efficient scroll compressors with inverter speed type compressor(s), special acryl precoated heat exchanger, low noise condenser fan, auto check function for connection error, auto address setting, with capacities as mentioned below |  | 0.00 | 0.00 |  | 0
103527 | a | 10 HP Cooling Only | Nos. | 248000 | 1 | 28 | 248000
103528 | 2 | Indoor Units |  | 0.00 | 0.00 |  | 0
103529 | 2.1 | Ductable Indoor Units |  | 0.00 | 0.00 |  | 0
103530 |  | Supply, Installation, Testing and Commissioning of Indoor units of following types complete with centrifugal blower, cooling coil with suitable rows , electronic expansion valves, high efficiency pre filter sections, drain pump all as per specifications. |  | 0.00 | 0.00 |  | 0
103531 |  | Ceiling Mounted Duct Type unit |  | 0.00 | 0.00 |  | 0
103532 | a | 4.6 Tr, | Nos. | 66000 | 1.00 | 28 | 66000
103533 | b | 1.3 Tr | Nos. | 34000 | 1.00 | 28 | 34000
103534 | c | 1.0 Tr. | Nos. | 32000 | 2.00 | 28 | 64000
103535 | 3 | Remote Controlls |  | 0.00 | 0.00 |  | 0
103536 | a | Wireless Remote Controller (PAR-FL32MA) | Nos. | 5200 | 4.00 | 18 | 20800
103537 | 4 | Single Reciving Unit (PAR-FA32MA) | Nos. | 5500 | 4.00 | 18 | 22000
103538 | 5 | Branch Y-Joints (CMY-Y62-G-E) | Nos. | 5200 | 3.00 | 18 | 15600
103539 |  | Refrigerant Piping for VRF System |  | 0.00 | 0.00 |  | 0
103540 |  | Supply Installation and Testing of refrigerant copper piping work with (19mm 13mm thick) closed cell elastomeric nitrile rubber tubular insulation between each set of indoor outdoor units as per specifications, all piping shall be properly clamped with walls. |  | 0.00 | 0.00 |  | 0
103541 |  | Make Mandev, Rajko |  | 0.00 | 0.00 |  | 0
103542 |  | 6.4 mm OD soft copper (Insulation 13 mm) | Rmt. | 750 | 15.00 | 18 | 11250
103543 |  | 9.5 mm OD soft copper (Insulation 13 mm) | Rmt. | 980 | 45.00 | 18 | 44100
103544 |  | 12.7 mm OD soft copper (Insulation 13 mm) | Rmt. | 1100 | 15.00 | 18 | 16500
103545 |  | 15.9 mm OD soft copper (Insulation 19 mm) | Rmt. | 1200 | 25.00 | 18 | 30000
103546 |  | 19.1 mm OD hard copper (Insulation 19 mm) | Rmt. | 1300 | 5.00 | 18 | 6500
103547 |  | 22.2 mm OD hard copper (Insulation 19 mm) | Rmt. | 1380 | 20.00 | 18 | 27600
103548 |  | Control Cabling |  | 0.00 | 0.00 |  | 0
103549 |  | Providing fixing control cum transmission wiring Power Control Cabling of 2 core x 1.5 sqmm copper in suitable conduits between indoor and out door unit indoor unit its remote controller. |  | 0.00 | 0.00 |  | 0
103550 |  | Make Polycab | Rmt. | 300 | 125.00 | 18 | 37500
103551 |  | Drain Piping |  | 0.00 | 0.00 |  | 0
103552 |  | PVC drain piping complete with fittings, supports, as per specifications and drawings. Providng and fixing pipes with all necessary fittings, supports and insulation. |  | 0.00 | 0.00 |  | 0
103553 |  | 25 mm Dia |  | 0.00 | 0.00 |  | 0
103554 |  | Make Prince Supreem Polypack | Rmt. | 250 | 30.00 | 18 | 7500
103555 |  | Supply and Top Up of Refrigent Gas for VRF System (R410a) | Kg. | 800 | 6.00 | 18 | 4800
103556 |  | MS Stand for VRF Outdoor Units | Nos. | 7500 | 1.00 | 18 | 7500
[6 empty] | Basic Total | 663650