## BOQ
ID BOQ for ABC BAR @KOLKATA INT. AIRPORT
Bidders name
Offer ref. no.
Offer date
2024-05-25
BOQ STANDARDISATION, IMPLEMENTATION AND COST CONSULTANCY FOR SPICE BAZAAR
GENERAL NOTES
Please refer to "Exhibit A - Basic rate of material" for the applicable base rates of materials
Items of works shall to be read in conjunction with Drawings, Specifications, Contractual terms and conditions and Trade Preambles to this BOQ as included in the RFP.
The quantities mentioned in the BOQ is tentative and may increase or decrease. Payment shall be restricted to the quantum of work executed and measured as per the defined mode of measurement.
The Mode of Measurement (in order of priority) is as follows:
(i) As defined in relevant item in the BOQ
(ii) As defined in the specification
(iii) As defined in IS-1200 or (latest version) for relevant trade .
(iv) if mode is not defined in (i), (ii) and (iii), the standard industry practice shall be adopted.
Items of work and trade preambles are essential parts of the bill of quantities and are to be taken as mutually explanatory of one another. Requirement occurring in one is binding as though occurring in both. In resolving conflicts, discrepancies, errors or omissions as regards trade preambles & bill of quantities the following order of precedence shall be used but subject to PRIORITY OF DOCUMENTS as included in General Conditions of Contract: a. General Notes as included in this bill of quantities. b. Trade Preambles as included in RFP. c. Item Description as included in this bill of quantities.
NOS | ITEM | LOCATION | SPECIFICATION | UNIT | Total Qty | RATE | AMOUNT | TOTAL
GENERAL NOTES
All MS frame shall be 14 Gauge
All MS frame shall be Duco paint at site and consider on the cost
A | BAR COUNTER | BC
1 | HDHMR board base framing |  | Cut and shape the 18mm thk HDHMR board to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the table top. | SqFt | 758 | 438 | 332004 | 332004
Consider 18mm HDHMR board to make the structure and 10-12mm bend ply to make curve surfaces on top 6mm MDF.
2 | MS Framing |  | Providing & fixing an ms section 50x50mm structure for the specified counter as per design. | Rft | 313 | 495 | 154935 | 154935
3 | Granite at the table top |  | Providing & fixing a 35-38mm thick granite surface as the top surface of the counter, applied over the HDHMR board. | SqFt | 133 | 1252 | 166516 | 166516
Ensure the HDHMR board surface is clean, dry, and free from any dirt, dust, or imperfections that may affect the adhesion of the corian.
Remove any adhesive residues or smudges from the corian surface, leaving it clean.
4 | Brick look ceramic Tile Cladding - (COUNTER FASCIA) |  | Providing and fixing in Ceramic tile of approved make & shade on any surface as per details in drawing and Over 12 mm thk bed of cement mortar 1:3 (cement : fine sand ) with thick grey cement slurry, with hairline joints using cement grout. The job includ cutting of tiles & making smooth edges wherever required. The work shall also include cost of materials, wastages, labour, all lead and lift at all levels, loading and unloading, transportation, curing etc. and all other incidental charges etc. Complete as specified in the drawing & to the satisfaction of the Site Engineer. Ceramic wall tile (Printed) With customized line work Make: -Ceramic wall tile brick red | Sqft | 625 | 345 | 215625 | 215625 | BASIC RATE TILE 90-100/SFT (Adhesive fixing )
B | Flooring
1 | Vinyl Flooring |  | Providing & laying grey vinyl flooring, 6-10mm thick of 1st quality laid on floor- Customized tile with base rate of Rs. 0/- per sqft | Sqft | 1398 | 305 | 426390 | 426390 | 2 MM thk 86/-Sft .vinyle floor
2 | Transition Profile |  | SS section transition profile at the lease line over vinyl floor as per approval. | Rft | 0 | 850 | 0 | 0
3 | Guard Rail |  | Providing & fixing SS 304 - 25mm dia SS guard rail to be fixed on the floor ,you 'll need appropriate hardware like screws or bolts , drill,and finish in original ss chrome finish. | Rft | 72 | 895 | 64440 | 64440
C | Bar Counter MS Portal
1 | MS Structure |  | Providing and Fixing 50X50mm MS section framing for Bar counter portal structure. Welding, screwing and joining from each other, floor,Complete partition framing from MS sections. Finished in black with powder coating as per finishes schedule. | Rft | 157 | 495 | 77715 | 77715 | BLACK DUCO FINISH
2 |  |  | 75mm thk box of MS Sheet base for Signage finished in black with powder coating as ID schedule on all sides, standing from MS structure of bar counter and supported by 50x50mm MS section as per detail drawing. | sqft | 69 | 1075 | 74175 | 74175
3 |  |  | Brand signage in closed Metal edges and front lit. Color temperature of Light will be 4000k. | LS | 1 | 48750 | 48750 | 48750
4 |  |  | MS perforated sheet behind the acrylic signage in wave pattern fixed to 75mm thk ms box and supported by | Sqft | 236 | 850 | 200600 | 200600 | BLACK DUCO FINISH
5 |  |  | 25mm dia MS rods finished in black with powder coating as per finishing schedule to be fixed in front and at back of perforated sheet to provide support from bending etc. and these rods are fixed to 75mm thk ms box at the rear side, refer to detail drawing | Rft | 232 | 625 | 145000 | 145000
D | BACK ENTRY DOOR
1 | BACK ENTRY DOOR - Wicket Door |  | Providing & fixing in position 1200mm high Single Leaf Wicket Door made up of 38mm thick solid wood shutter of approved make & thickness, Inner& outer sidefinished with polished and outer, finish including providing & fixing 12 mm thk Wooden lipping all around, including P/F of Door frame made out of CP Teak / Ash wood or equivalent with melamine polish finish. Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware's such as s/s handles, floor spring and any other hardware etc required to complete the related works as per design & detail. door hardware make consider Dorma / Hafele/Ozon /equilient. | NOS | 1 | 22500 | 22500 | 22500
GRAND TOTAL | [7 empty] | 1928650
ALL COMPONENTS OF CARPENTRY (PLYWOOD/GYPSUM BOARD) TO BE OF 1 HR. FIRE RATING.
IMP NOTE: The description of works provided above along with the drawings are meant only to describe the intent for the design. The vendor/ contractor is expected to develop his/her details/shop drawings as required to fulfil the design intent whilst ensuring functional compliance and structural stability. These details are to be reviewed with the architect/ project manager prior to commencement of work at site. If there are any discrepancies between the drawing and the BOQ provided, please consult/ clarify with the designer.All componets of carpentry (Plywood / Gypsum boards) to be of 1Hr Fire rating.
Details of Bidder's Authorized Signatory
Signature
Name
Designation
Bidder's Stamp
Commercial Terms & Condition:.
Taxes & Duties:
· Taxes are separately.
· We consider GST @18% on total project value, applicable as per Govt. Of India.
Variation in Scope of Work:
· If there are any addition or changes to the scope of work outlined in our proposal the value of the contract will be enhanced accordingly.
· Unit rates to be paid for variable items and the payment will be made on the basis of actual measurements of the quantities supplied / execution.
Storage, Safe-Custody and Facilities:
· Customer to provide (free of costs to us), adequate independent lockable storage facilities for equipment, materials, tools & tackles brought to the site from time to time execution of the work. We shall bearing responsible for safe-custody of materials etc. only if such storage facilities are made available.
· Necessary facilities including water and electrical power required for erection / execution, testing and commissioning will be provided by you in time at points to be nominated by us free of any cost/charge.
Terms of Payment:
· 50 % of the contract value as advanced along with order.
· 30 % of the contract value against proforma invoice on prorata delivery.
· 15 % of the contract value against prorate basis as per execution.
· 05 % of the contract value against commissioning or 30 days from date of complete execution and submission of Invoice.
· Cheque to be made in favour of 'INTERCARE ENTERPRISES'
Excluded Works and Services:
· Following items of works and services are excluded from our scope of works which will be arranged by the purchaser / client at their own cost:
· Provision of adequate 3 Ph/1 Ph, 415/230V, 50 Hz, Temporary Supply terminating in each of our panel boards. Main earthling stations and earthling grids terminating in our panel boards. Power and water for erection / execution, testing and commissioning of the system.
· All exterior civil / masonry and builders works such as adequate lighting and ventilation, foundation for various items of the system, breaking and making holes in walls/building structure for passage of pipes, cables, ducts, etc.
· Provision of lifting tackles such as crane / elevators etc. for lifting / moving / shifting / un-loading of heavy equipment.
· Safe and secured storage space for equipment, materials, tools etc. during work in progress.
· Any item which not mentioned in B.O.Q.
If any material come from out of project location/local market then transportation will be as applicable.
All permission & passes will be arrange by client.
Completion Schedule:
· We will discuss later on after finalization of offer.
Force Majored:
· No liability shall be attached to us for non-performance or delayed execution of this contract as a result of force majored.
Warranty:
· The scope of works covered by this contract carries warranty against defective materials or workmanship for a period of 6 months from the date of completion of the project. If any part of the works / equipment is put to use earlier for any reason whatsoever, the warranty period will commence from the date of such use. This warranty is subject to the terms of payment being punctually complied with and the equipment / works being operated properly.
· Any part/parts which may prove defective and which do not fail from neglect or misuse or faulty operation will be repaired / replaced at our discretion.
· This warranty:
a) does not extend to consequential damages or loss,
b) is null and void if repairs/modification are carried-out without our written consent,
c) does not cover parts subject to normal wear and tear.
Limitation of Liability:
· In no event shall we be liable for any consequential loss or damage arising out or connected with this contract in any way whatsoever.
Validity:
· Our offer is valid for your acceptance for a period of 30 days from the date of this offer and will be subject to our written confirmation thereafter.
Miscellaneous:
. The work amount will increase as per new additional work at site & the measurement will be attached on final.